## A1
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2020
SECTION A : BASE INFORMATION
Table A1: Connected and billed properties
[6 empty] | 10 |  | 20
Line | Description | Ofwat | WICS | Units | Field | Report Year |  | Report Year +1
Ref. |  | Reference | Reference |  | Type
|  | JR 07 | AR 06 |  |  | 2019-20 | CG | 2020-21 | CG
Billed Properties - Water
A1.1 | Unmeasured household billed properties - potable water (including exempt) | T7, L11 | A1.1 + A1.10a | Nr | I | 2510569 | B2 | 2532299 | B3
A1.2 | Measured household billed properties - potable water | T7, L12 + L13 | A1.12 | Nr | I | 387 | B2 | 363 | B3
A1.3a | Unmeasured non-household occupied billed properties - potable water (including exempt) | T7, L16 | A1.66 | Nr | I | 19927 | B3 | 19927 | B3
A1.3b | Unmeasured non-household vacant billed properties - potable water (including exempt) |  |  | Nr | I | 3832 | B3 | 3832 | B3
A1.4a | Measured non-household occupied billed properties - potable water | T7, L17 | A1.22 | Nr | I | 120241 | B3 | 120241 | B3
A1.4b | Measured non-household vacant billed properties - potable water |  |  | Nr | I | 8806 | B3 | 8806 | B3
A1.5 | Total number of billed properties - potable water | T7, L14 + L18 | - | Nr | C | 2663762 | B3 | 2685468 | B3
Connected Properties - Water
A1.6 | Unmeasured household connected properties | - | A1.1 + A1.10a + A1.11 | Nr | I | 2563192 | B2 | 2584921 | B3
A1.7 | Measured household connected properties | - | A1.12 + A1.13 | Nr | I | 387 | B2 | 363 | B3
A1.8 | Unmeasured non-household connected properties | - | A1.66 + A1.67 | Nr | I | 23759 | B3 | 23759 | B3
A1.9 | Measured non-household connected properties | - | A1.22 | Nr | I | 129047 | B3 | 129047 | B3
A1.10 | Total number of connected properties | - | A1.69 | Nr | C | 2716385 | B3 | 2738090 | B3
Billed Properties - Foul Sewerage
A1.11 | Unmeasured household billed properties (including exempt) | T13, L1 | A3.1 + A3.12b | Nr | I | 2409383 | B2 | 2430211 | B3
A1.12 | Measured household billed properties | T13, L2 | A3.14 | Nr | I | 94 | B2 | 86 | B3
A1.13a | Unmeasured non-household occupied billed properties (including exempt) | T13, L4 | A3.73 | Nr | I | 17173 | B3 | 17173 | B3
A1.13b | Unmeasured non-household vacant billed properties (including exempt) |  |  | Nr | I | 3532 | B3 | 3532 | B3
A1.14a | Measured non-household occupied billed properties | T13, L5 | A3.26 | Nr | I | 96890 | B3 | 96890 | B3
A1.14b | Measured non-household vacant billed properties |  |  | Nr | I | 7858 | B3 | 7858 | B3
A1.15 | Total number of billed properties - foul sewerage | T13, L3 + L7 | - | Nr | C | 2534930 | B3 | 2555750 | B3
Connected Properties - Foul Sewerage
A1.16 | Unmeasured household connected properties | - | A3.1 + A3.12b + A3.13 | Nr | I | 2459942 | B2 | 2480770 | B3
A1.17 | Measured household connected properties | - | A3.26 + A3.30 | Nr | I | 94 | B2 | 86 | B3
A1.18 | Unmeasured non-household connected properties | - | A3.73 + A3.76 | Nr | I | 20705 | B3 | 20705 | B3
A1.19 | Measured non-household connected properties | - | A3.14 + A3.17 | Nr | I | 104748 | B3 | 104748 | B3
A1.20 | Total number of connected properties | - | - | Nr | C | 2585489 | B3 | 2606309 | B3
Billed Properties - Surface Drainage
A1.21 | Unmeasured household billed properties (including exempt) not billed for surface drainage | - | A3.12a | Nr | I | 0 | B2 | 0 | B3
A1.22 | Measured household billed properties not billed for surface drainage | - | A3.16 | Nr | I | 18 | B2 | 18 | B3
A1.23 | Unmeasured non-household billed properties not billed for surface drainage | - | A3.75a | Nr | I | 37 | B3 | 37 | B3
A1.24 | Measured non-household billed properties not billed for surface drainage | - | A3.29a | Nr | I | 7099 | B3 | 7099 | B3
A1.25 | Household properties billed for surface drainage only | - | A3.11 + A3.15 | Nr | I | 0 | B2 | 0 | B3
A1.26a | Non-household occupied properties billed for surface drainage only | - | A3.28 + A3.74 | Nr | I | 41342 | B3 | 41342 | B3
A1.26b | Non-household vacant properties billed for surface drainage only | - | A3.28 + A3.74 | Nr | I | 6105 | B3 | 6105 | B3
A1.27 | Total number of billed properties | - | - | Nr | C | 2575223 | B3 | 2596043 | B3
Connected Properties - Surface Drainage
A1.28 | Unmeasured household connected properties | - | - | Nr | I | 2459942 | B2 | 2480770 | B3
A1.29 | Measured household connected properties | - | - | Nr | I | 518 | B2 | 524 | B3
A1.30 | Unmeasured non-household connected properties | - | - | Nr | I | 71398 | B3 | 71398 | B3
A1.31 | Measured non-household connected properties | - | - | Nr | I | 95430 | B3 | 95430 | B3
A1.32 | Total number of connected properties | - | - | Nr | C | 2627288 | B3 | 2648122 | B3
Trade Effluent
A1.33 | Billed Properties | - | - | Nr | I | 1304 | A2 | 1295 | A3
A1.34 | Connected Properties | - | - | Nr | I | 3417 | A2 | 3552 | A3
A1.35 | Trade effluent load receiving secondary treatment (BOD/yr) | - | - | tonnes | I | 13848.4585 | B3 | 13811 | B4
A1.36 | Trade efluent load receiving secondary treatment (COD/yr) | - | - | tonnes | I | 27654 | B3 | 27579.8905 | B4
Vacant Charging and Disconnections
A1.37 | Non-household permanent disconnections | - | - | Nr | I | 388 | B3 | 388 | B3
A1.38 | Non-household water properties de-registered from the market | - | - | Nr | I | 2673 | B3 | 2673 | B3
A1.39 | Non-household wastewater properties de-registered from the market | - | - | Nr | I | 3333 | B3 | 3333 | B3
A1.40 | Non-household drainage only properties de-registered from the market | - | - | Nr | I | 1570 | B3 | 1570 | B3
A1.41 | Non-household water properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 58 | B3 | 58 | B3
A1.42 | Non-household wastewater properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 61 | B3 | 61 | B3
A1.43 | Non-household drainage only properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 3 | B3 | 3 | B3
A1.44 | Non-household water properties pending temporary transfer to Scottish Water |  |  | Nr | I | 6 | B3 | 6 | B3
A1.45 | Non-household wastewater properties pending temporary transfer to Scottish Water |  |  | Nr | I | 9 | B3 | 9 | B3
A1.46 | Non-household drainage only properties pending temporary transfer to Scottish Water |  |  | Nr | I | 3 | B3 | 3 | B3
A1.47 | Discontinuation of Trade Effluent services |  |  | Nr | I | 0 |  | 0
Prepared by: …………………………………………….. |  |  | Date: ……………………
Checked by: …………………………………………….. |  |  | Date: ……………………
Authorised by: ………………………………………… |  |  | Date: ……………………

## A2
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2020
SECTION A : BASE INFORMATION
Table A2: Population, volumes and loads (Water)
[6 empty] | 10 |  | 20
Line | Description | Ofwat | WICS | Units | Field | Report Year |  | Report Year +1
Ref. |  | Reference | Reference |  | Type
|  | JR 08 | AR 07 |  |  | 2019-20 | CG | 2020-21 | CG
Summary - Population - Water
A2.1 | Winter | - | A1.71 | 000 | I | 5383.195 | B2 | 5402.909 | B2
A2.2 | Summer | - | A1.72 | 000 | I | 5456.144 | B2 | 5475.858 | B2
Household - Population - Water
A2.3 | Population of unmeasured household properties | T7, L31 | A1.73 | 000 | I | 5216.173 | B2 | 5235.8 | B3
A2.4 | Population of measured household properties | T7, L32 | A1.74 | 000 | I | 0.83 | B2 | 0.776 | B3
A2.5 | Household population connected to the water service | - | A1.75 | 000 | C | 5217.003 | B2 | 5236.576 | B2
Water Balance
A2.6 | Net Distribution input treated water (water put into supply) | T10, L30 | - | Ml/d | I | 1769.71 | B2 | 1764.71 | B2
A2.7 | Unmeasured household volume of water delivered (including losses) | T10, L4 | A2.1 | Ml/d | I | 992.81 | B2 | 992.81 | B2
A2.8 | Measured household volume of water delivered (including losses) | T10, L1 | A2.5 | Ml/d | I | 0.29 | B2 | 0.29 | B2
A2.9 | Unmeasured non-household volume of water delivered (including losses) | T10, L5 | sum(A2.22:A2.25) | Ml/d | I | 15 | C5 | 15.1 | C5
A2.10 | Measured non-household volume of water delivered (including losses) | T10, L2 | sum(A2.9:A2.16) | Ml/d | I | 366.22 | B3 | 363.78 | B3
A2.11 | Water taken unbilled - legally | T10, L21 | A2.34 | Ml/d | I | 62.4 | C4 | 62.4 | C4
A2.12 | Water taken unbilled - illegally | T10, L22 | A2.35 | Ml/d | I | 1.71 | C4 | 1.71 | C4
A2.13 | Water taken unbilled - Distribution System Operational Use (DSOU) | T10, L20 | A2.33 | Ml/d | I | 5.77 | C3 | 5.77 | C3
A2.14 | Net Consumption (including supply pipe losses) | - | - | Ml/d | C | 1444.2 | B3 | 1441.86 | B3
A2.15 | Distribution losses (including trunk mains and reservoirs) | - | - | Ml/d | C | 325.51 | B3 | 322.85 | B3
A2.16 | Customer supply pipe losses | - | - | Ml/d | I | 128.5 | C3 | 128.5 | C3
A2.17 | Overall water balance | T10, L34 | - | - | I |  | B3 |  | B3
Leakage
A2.18 | Total Leakage (pre-MLE Adjustment) | - | - | Ml/d | I | 466.66 | B3 | 461.66 | B3
A2.19 | Water Balance Closing Error | - | - | % | C | -0.71 | B3 | -0.72 | B3
A2.20 | MLE Adjustment | - | - | Ml/d | I | -2.25 | B3 | -2.25 | B3
A2.21 | Total Leakage (post-MLE Adjustment) | - | - | Ml/d | C | 464.4 | B3 | 459.4 | B3
Water delivered - non-potable
A2.22 | Volume of non-potable water delivered | T10, L25 | A2.17 | Ml/d | I | 12.151 | C4 | 12.151 | C4
Water delivered - components
A2.23 | Per Household consumption (unmeas'd h'hold - excl s/pipe leakage) PHC | T10, L12 | A2.4 | l/household/day | I | 346 | B2 | 346.001 | B2
A2.24 | Per Household consumption (meas'd h'hold - excl s/pipe leakage) PHC | T10, L13 | A2.8 | l/household/day | I | 720.86 | B3 | 720.864 | B3
A2.25 | Meter under-registration (measured households) (included in water delivered) | T10, L18 | A2.7 | Ml/d | I | 0.012 | C3 | 0.012 | C3
A2.26 | Meter under-registration (measured non-households) (included in water delivered) | T10, L19 | A2.21 | Ml/d | I | 16.201 | C3 | 16.201 | C3
Prepared by: …………………………………………….. |  |  | Date: ……………………
Checked by: …………………………………………….. |  |  | Date: ……………………
Authorised by: ………………………………………… |  |  | Date: ……………………

## A3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2020
SECTION A : BASE INFORMATION
Table A3: Population, volumes and loads (Waste water)
[6 empty] | 10 |  | 20
Line | Description | Ofwat | WICS | Units | Field | Report Year |  | Report Year +1
Ref. |  | Reference | Reference |  | Type
|  | JR 08 | AR 07 |  |  | 2019-20 | CG | 2020-21 | CG
| Summary - Population - Waste water | - | A3.81
A3.1 | Winter | - | A3.82 | 000 | I | 5155.938 | B2 | 5174.714 | B2
A3.2 | Summer | - | A3.83 | 000 | I | 5206.792 | B2 | 5225.583 | B2
A3.3 | Household Population connected to the wastewater service |  |  | 000 | I | 5008.573 | B2 | 5027.246 | B2
Sewage - Volumes
A3.4 | Unmeasured household volume (including exempt) | T14, L1 | A4.1 | MI/d | I | 766.853 | B3 | 766.853 | B3
A3.5 | Measured household volume | - | - | MI/d | I | 0.026 | A2 | 0.024 | A2
A3.6 | Unmeasured non-household foul volume (including exempt) | L14, L2 | sum(A4.2:A4.5) | MI/d | I | 12.724 | B3 | 12.724 | B3
A3.7 | Measured non-household foul volume | - | sum(A4.8:A4.15) | Ml/d | I | 143.457 | B3 | 143.457 | B3
A3.8 | Trade effluent volume | L14, L5 | A4.16 | Ml/d | I | 59.8534 | B2 | 59.6906 | B4
A3.9 | Total volume | L14, L3 + L4 | A4.18 | Ml/d | C | 982.9134 | B3 | 982.7486 | B3
A3.10 | Volume septic tank waste | T14, L8 | A4.19 | MI | I | 61.023 | B3 | 61.023 | B3
Sewage - Load (BOD/yr)
A3.11 | Unmeasured household load (including exempt) | - | - | tonnes | I | 109673.61 | B3 | 110602.202 | B3
A3.12 | Measured household load | - | - | tonnes | I | 2.969 | B4 | 2.716 | B4
A3.13 | Unmeasured non-household foul load (including exempt) | - | - | tonnes | I | 1393.252 | B4 | 1393.252 | B4
A3.14 | Measured non-household foul load | - | - | tonnes | I | 15704.75 | B3 | 15704.75 | B3
A3.15 | Trade effluent load | - | - | tonnes | I | 14269.5168 | B4 | 14231.0405 | B4
A3.16 | Total load discharged from primary services | - | - | tonnes | C | 141044.0978 | B3 | 141933.9605 | B3
A3.17 | Private septic tank load | - | - | tonnes | I | 261.409 | B3 | 263.622 | B3
A3.18 | Public septic tank load | - | - | tonnes | I | 137.862 | B3 | 139.029 | B3
A3.19 | Other tanker load | - | - | tonnes | I | 354.141 | B3 | 365.571 | B3
A3.20 | Total load entering sewerage system (BOD/yr) | - | A4.34 | tonnes | C | 141797.5098 | B3 | 142702.1825 | B3
A3.21 | Average COD concentration | T15, L22 | A4.35 | mg/l | I | 350 | A1 | 350 | A1
A3.22 | Average suspended solids concentration | T15, L23 | A4.36 | mg/l | I | 250 | A1 | 250 | A1
A3.23 | Equivalent population served (resident) | - | A4.37 | 000 | I | 6640.621 | B3 | 6640.621 | B3
A3.24 | Equivalent population served (resident)(numerical consents) | - | A4.38 | 000 | I | 6185.013 | B3 | 6185.013 | B3
A3.25 | Total load receiving treatment through PPP treatment works | - | A4.39 | tonnes | I | 64534.055 | B3 | 64534.055 | B3
Sewage Sludge Treatment and Disposal
A3.26 | Total sewage sludge disposal | T15, L47 | A4.52 | ttds | I | 123.838 | B4 | 123.5 | B4
A3.27 | Total sewage sludge disposal by PPP treatment works | - | - | ttds | I | 107.028 | B4 | 108 | B4
A3.28 | Percentage unsatisfactory sludge disposal | T15, L48 | A4.53 | % | I | 0 | A1 | 0 | A1
Prepared by: …………………………………………….. |  |  | Date: ……………………
Checked by: …………………………………………….. |  |  | Date: ……………………
Authorised by: ………………………………………… |  |  | Date: ……………………