## A1
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2021
SECTION A : BASE INFORMATION
Table A1: Connected and billed properties
Line Ref | Description | Reference | Reference | Units | Field Type | Report Year 2020-21 | CG | Report Year +1 2021-22 | CG
Billed Properties - Water
A1.1 | Unmeasured household billed properties - potable water (including exempt) | T7, L11 | A1.1 + A1.10a | Nr | I | 2528983 | B2 | 2544817 | B3
A1.2 | Measured household billed properties - potable water | T7, L12 + L13 | A1.12 | Nr | I | 369 | B2 | 355 | B3
A1.3a | Unmeasured non-household occupied billed properties - potable water (including exempt) | T7, L16 | A1.66 | Nr | I | 19629 | B3 | 19629 | B3
A1.3b | Unmeasured non-household vacant billed properties - potable water (including exempt) |  |  | Nr | I | 3914 | B3 | 3914 | B3
A1.4a | Measured non-household occupied billed properties - potable water | T7, L17 | A1.22 | Nr | I | 115261 | B3 | 115261 | B3
A1.4b | Measured non-household vacant billed properties - potable water |  |  | Nr | I | 14112 | B3 | 14112 | B3
A1.5 | Total number of billed properties - potable water | T7, L14 + L18 | - | Nr | C | 2682268 | B3 | 2698088 | B3
Connected Properties - Water
A1.6 | Unmeasured household connected properties | - | A1.1 + A1.10a + A1.11 | Nr | I | 2579564 | B2 | 2595397 | B3
A1.7 | Measured household connected properties | - | A1.12 + A1.13 | Nr | I | 369 | B2 | 355 | B3
A1.8 | Unmeasured non-household connected properties | - | A1.66 + A1.67 | Nr | I | 23543 | B3 | 23543 | B3
A1.9 | Measured non-household connected properties | - | A1.22 | Nr | I | 129373 | B3 | 129373 | B3
A1.10 | Total number of connected properties | - | A1.69 | Nr | C | 2732849 | B3 | 2748668 | B3
Billed Properties - Foul Sewerage
A1.11 | Unmeasured household billed properties (including exempt) | T13, L1 | A3.1 + A3.12b | Nr | I | 2426901 | B2 | 2442078 | B3
A1.12 | Measured household billed properties | T13, L2 | A3.14 | Nr | I | 82 | B2 | 75 | B3
A1.13a | Unmeasured non-household occupied billed properties (including exempt) | T13, L4 | A3.73 | Nr | I | 16824 | B3 | 16824 | B3
A1.13b | Unmeasured non-household vacant billed properties (including exempt) |  |  | Nr | I | 3576 | B3 | 3576 | B3
A1.14a | Measured non-household occupied billed properties | T13, L5 | A3.26 | Nr | I | 93195 | B3 | 93195 | B3
A1.14b | Measured non-household vacant billed properties |  |  | Nr | I | 12444 | B3 | 12444 | B3
A1.15 | Total number of billed properties - foul sewerage | T13, L3 + L7 | - | Nr | C | 2553022 | B3 | 2568192 | B3
Connected Properties - Foul Sewerage
A1.16 | Unmeasured household connected properties | - | A3.1 + A3.12b + A3.13 | Nr | I | 2475578 | B2 | 2490755 | B3
A1.17 | Measured household connected properties | - | A3.26 + A3.30 | Nr | I | 82 | B2 | 75 | B3
A1.18 | Unmeasured non-household connected properties | - | A3.73 + A3.76 | Nr | I | 20400 | B3 | 20400 | B3
A1.19 | Measured non-household connected properties | - | A3.14 + A3.17 | Nr | I | 105639 | B3 | 105639 | B3
A1.20 | Total number of connected properties | - | - | Nr | C | 2601699 | B3 | 2616869 | B3
Billed Properties - Surface Drainage
A1.21 | Unmeasured household billed properties (including exempt) not billed for surface drainage | - | A3.12a | Nr | I | 0 | B2 | 0 | B3
A1.22 | Measured household billed properties not billed for surface drainage | - | A3.16 | Nr | I | 16 | B2 | 16 | B3
A1.23 | Unmeasured non-household billed properties not billed for surface drainage | - | A3.75a | Nr | I | 38 | B3 | 38 | B3
A1.24 | Measured non-household billed properties not billed for surface drainage | - | A3.29a | Nr | I | 7405 | B3 | 7405 | B3
A1.25 | Household properties billed for surface drainage only | - | A3.11 + A3.15 | Nr | I | 0 | B2 | 0 | B3
A1.26a | Non-household occupied properties billed for surface drainage only | - | A3.28 + A3.74 | Nr | I | 44022 | B3 | 44022 | B3
A1.26b | Non-household vacant properties billed for surface drainage only | - | A3.28 + A3.74 | Nr | I | 6498 | B3 | 6498 | B3
A1.27 | Total number of billed properties | - | - | Nr | C | 2596083 | B3 | 2611253 | B3
Connected Properties - Surface Drainage
A1.28 | Unmeasured household connected properties | - | - | Nr | I | 2475578 | B2 | 2490755 | B3
A1.29 | Measured household connected properties | - | - | Nr | I | 501 | B2 | 479 | B3
A1.30 | Unmeasured non-household connected properties | - | - | Nr | I | 74407 | B3 | 74407 | B3
A1.31 | Measured non-household connected properties | - | - | Nr | I | 95970 | B3 | 95970 | B3
A1.32 | Total number of connected properties | - | - | Nr | C | 2646456 | B3 | 2661611 | B3
Trade Effluent
A1.33 | Billed Properties | - | - | Nr | I | 1297 | A2 | 1286 | A3
A1.34 | Connected Properties | - | - | Nr | I | 3462 | A2 | 3423 | A3
A1.35 | Trade effluent load receiving secondary treatment (BOD/yr) | - | - | tonnes | I | 10445.8599 | B4 | 10406.2671 | B4
A1.36 | Trade efluent load receiving secondary treatment (COD/yr) | - | - | tonnes | I | 22305.8829 | B4 | 22242.3223 | B4
Vacant Charging and Disconnections
A1.37 | Non-household permanent disconnections | - | - | Nr | I | 205 | B3 | 205 | B3
A1.38 | Non-household water properties de-registered from the market | - | - | Nr | I | 1580 | B3 | 1580 | B3
A1.39 | Non-household wastewater properties de-registered from the market | - | - | Nr | I | 1171 | B3 | 1171 | B3
A1.40 | Non-household drainage only properties de-registered from the market | - | - | Nr | I | 933 | B3 | 933 | B3
A1.41 | Non-household water properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 88 | B3 | 200 | B3
A1.42 | Non-household wastewater properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 95 | B3 | 216 | B3
A1.43 | Non-household drainage only properties under successful temporary transfer to Scottish Water |  |  | Nr | I | 7 | B3 | 16 | B3
A1.44 | Non-household water properties pending temporary transfer to Scottish Water |  |  | Nr | I | 3 | B3 | 3 | B3
A1.45 | Non-household wastewater properties pending temporary transfer to Scottish Water |  |  | Nr | I | 3 | B3 | 3 | B3
A1.46 | Non-household drainage only properties pending temporary transfer to Scottish Water |  |  | Nr | I | 1 | B3 | 1 | B3
A1.47 | Discontinuation of Trade Effluent services |  |  | Nr | I | 0 | A1 | 0 | A1
Prepared by: ……………….. |  |  | Date: ……………………
Checked by: …………………………………………….. |  |  | Date: ……………………
Authorised by: ………………………………………… |  |  | Date: ……………………

## A2
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2021
SECTION A : BASE INFORMATION
Table A2: Population, volumes and loads (Water)
Line Ref | Description | Reference | Reference | Units | Field Type | Report Year 2020-21 | CG | Report Year +1 2021-22 | CG
Summary - Population - Water
A2.1 | Winter | - | A1.71 | 000 | I | 5395.048 | B2 | 5405.862 | B3
A2.2 | Summer | - | A1.72 | 000 | I | 5471.251 | B2 | 5482.219 | B3
Household - Population - Water
A2.3 | Population of unmeasured household properties | T7, L31 | A1.73 | 000 | I | 5194.144 | B2 | 5205.144 | B3
A2.4 | Population of measured household properties | T7, L32 | A1.74 | 000 | I | 0.78548 | B2 | 0.753 | B3
A2.5 | Household population connected to the water service | - | A1.75 | 000 | C | 5194.9295 | B2 | 5205.897 | B3
Water Balance
A2.6 | Net Distribution input treated water (water put into supply) | T10, L30 | - | Ml/d | I | 1824.5261 | B2 | 1791.2896 | B2
A2.7 | Unmeasured household volume of water delivered (including losses) | T10, L4 | A2.1 | Ml/d | I | 1107.1207 | B2 | 1068.4668 | B2
A2.8 | Measured household volume of water delivered (including losses) | T10, L1 | A2.5 | Ml/d | I | 0.21954 | B2 | 0.21151 | B2
A2.9 | Unmeasured non-household volume of water delivered (including losses) | T10, L5 | sum(A2.22:A2.25) | Ml/d | I | 15.658 | C5 | 15.658 | C5
A2.10 | Measured non-household volume of water delivered (including losses) | T10, L2 | sum(A2.9:A2.16) | Ml/d | I | 340.3663 | B3 | 353.2918 | B3
A2.11 | Water taken unbilled - legally | T10, L21 | A2.34 | Ml/d | I | 58.717 | C4 | 58.717 | C4
A2.12 | Water taken unbilled - illegally | T10, L22 | A2.35 | Ml/d | I | 1.3371 | C4 | 1.3371 | C4
A2.13 | Water taken unbilled - Distribution System Operational Use (DSOU) | T10, L20 | A2.33 | Ml/d | I | 6.7856 | C3 | 6.7856 | C3
A2.14 | Net Consumption (including supply pipe losses) | - | - | Ml/d | C | 1530.2043 | B3 | 1504.4678 | B3
A2.15 | Distribution losses (including trunk mains and reservoirs) | - | - | Ml/d | C | 294.3218 | B3 | 286.8218 | B3
A2.16 | Customer supply pipe losses | - | - | Ml/d | I | 131.0765 | C3 | 131.0765 | C3
A2.17 | Overall water balance | T10, L34 | - | - | I |  | B3 |  | B3
Leakage
A2.18 | Total Leakage (pre-MLE Adjustment) | - | - | Ml/d | I | 470.4279 | B3 | 462.9279 | B3
A2.19 | Water Balance Closing Error | - | - | % | C | -2.468 | B3 | -2.5138 | B3
A2.20 | MLE Adjustment | - | - | Ml/d | I | -7.7633 | B3 | -7.7633 | B3
A2.21 | Total Leakage (post-MLE Adjustment) | - | - | Ml/d | C | 462.6646 | B3 | 455.1646 | B3
Water delivered - non-potable
A2.22 | Volume of non-potable water delivered | T10, L25 | A2.17 | Ml/d | I | 14.354 | C4 | 14.354 | C4
Water delivered - components
A2.23 | Per Household consumption (unmeas'd h'hold - excl s/pipe leakage) PHC | T10, L12 | A2.4 | l/household/day | I | 380.429 | B2 | 363.2149 | B2
A2.24 | Per Household consumption (meas'd h'hold - excl s/pipe leakage) PHC | T10, L13 | A2.8 | l/household/day | I | 573.2911 | B3 | 573.2911 | B3
A2.25 | Meter under-registration (measured households) (included in water delivered) | T10, L18 | A2.7 | Ml/d | I | 0.0086466 | C3 | 0.0086466 | C3
A2.26 | Meter under-registration (measured non-households) (included in water delivered) | T10, L19 | A2.21 | Ml/d | I | 15.1566 | C3 | 15.1566 | C3
Prepared by: …………………………………………….. |  |  | Date: ……………………
Checked by: …………………………………………….. |  |  | Date: ……………………
Authorised by: ………………………………………… |  |  | Date: ……………………

## A3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2021
SECTION A : BASE INFORMATION
Table A3: Population, volumes and loads (Waste water)
Line Ref | Description | Reference | Reference | Units | Field Type | Report Year 2020-21 | CG | Report Year +1 2021-22 | CG
Summary - Population - Waste water
A3.1 | Winter | - | A3.81 | 000 | I | 5164.428 | B2 | 5174.656 | B3
A3.2 | Summer | - | A3.82 | 000 | I | 5218.317 | B2 | 5228.652 | B3
A3.3 | Household Population connected to the wastewater service | - | A3.83 | 000 | I | 4987.236 | B2 | 4997.647 | B3
Sewage - Volumes
A3.4 | Unmeasured household volume (including exempt) | T14, L1 | A4.1 | MI/d | I | 894.695 | B3 | 859.446 | B3
A3.5 | Measured household volume | - | - | MI/d | I | 0.025 | A2 | 0.023 | A2
A3.6 | Unmeasured non-household foul volume (including exempt) | L14, L2 | sum(A4.2:A4.5) | MI/d | I | 12.688 | B3 | 12.688 | B3
A3.7 | Measured non-household foul volume | - | sum(A4.8:A4.15) | Ml/d | I | 114.666 | B3 | 114.666 | B3
A3.8 | Trade effluent volume | L14, L5 | A4.16 | Ml/d | I | 60.9292 | B2 | 60.8668 | B4
A3.9 | Total volume | L14, L3 + L4 | A4.18 | Ml/d | C | 1083.0032 | B3 | 1047.6898 | B3
A3.10 | Volume septic tank waste | T14, L8 | A4.19 | MI | I | 56.528 | B3 | 56.528 | B3
Sewage - Load (BOD/yr)
A3.11 | Unmeasured household load (including exempt) | - | - | tonnes | I | 109210.9 | B3 | 104904.51 | B3
A3.12 | Measured household load | - | - | tonnes | I | 2.936 | B4 | 2.685 | B4
A3.13 | Unmeasured non-household foul load (including exempt) | - | - | tonnes | I | 1389.237 | B4 | 1389.237 | B4
A3.14 | Measured non-household foul load | - | - | tonnes | I | 12555.952 | B3 | 12555.952 | B3
A3.15 | Trade effluent load | - | - | tonnes | I | 10831.8399 | B4 | 10792.2471 | B4
A3.16 | Total load discharged from primary services | - | - | tonnes | C | 133990.8649 | B3 | 129644.6311 | B3
A3.17 | Private septic tank load | - | - | tonnes | I | 205.232 | B3 | 205.232 | B3
A3.18 | Public septic tank load | - | - | tonnes | I | 164.629 | B3 | 164.629 | B3
A3.19 | Other tanker load | - | - | tonnes | I | 340.767 | B3 | 340.767 | B3
A3.20 | Total load entering sewerage system (BOD/yr) | - | A4.34 | tonnes | C | 134701.4929 | B3 | 130355.2591 | B3
A3.21 | Average COD concentration | T15, L22 | A4.35 | mg/l | I | 350 | A1 | 350 | A1
A3.22 | Average suspended solids concentration | T15, L23 | A4.36 | mg/l | I | 250 | A1 | 250 | A1
A3.23 | Equivalent population served (resident) | - | A4.37 | 000 | I | 6290.205 | B3 | 6290.024 | B3
A3.24 | Equivalent population served (resident)(numerical consents) | - | A4.38 | 000 | I | 5882.3 | B3 | 5559.905 | B3
A3.25 | Total load receiving treatment through PPP treatment works | - | A4.39 | tonnes | I | 61317.708 | B3 | 61317.708 | B3
Sewage Sludge Treatment and Disposal
A3.26 | Total sewage sludge disposal | T15, L47 | A4.52 | ttds | I | 117.379 | B4 | 121 | B4
A3.27 | Total sewage sludge disposal by PPP treatment works | - | - | ttds | I | 100.949 | B4 | 105 | B4
A3.28 | Percentage unsatisfactory sludge disposal | T15, L48 | A4.53 | % | I | 0 | A1 | 0 | A1
Prepared by: …………………………………………….. |  |  | Date:
Checked by: …………………………………………….. |  |  | Date:
Authorised by: ………………………………………… |  |  | Date: ……………………