## E3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E3: PPP Project Analysis
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 300
Line | Description | Units | Field | Highland |  | Highland |  | Tay |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Moray Coast |  | Moray Coast |  | Moray Coast |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | Levenmouth |  | Dalmuir |  | Daldowie |  | MSI |  | MSI |  | MSI | [9 empty] | Total
Ref. |  |  | Type |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Project Data
E3.0 | Name |  | I | Ft William |  | Inverness |  | Hatton |  | Nigg |  | Persley |  | Peterhead |  | Fraserburgh |  | Lossiemouth |  | Buckie |  | Banff/Macduff |  | Seafield |  | Newbridge |  | East Calder |  | Blackburn |  | Whitburn |  | Levenmouth |  | Dalmuir |  | Daldowie |  | Meadowhead |  | Stevenston |  | Inverclyde
E3.1 | Annual average resident connected population | 000 | I/C | 8.456 | B2 | 63.348 | B2 | 189.971 | B2 | 208.763 | B2 | 37.374 | B2 | 21.979 | B2 | 17.687 | B2 | 37.42 | B2 | 13.567 | B2 | 10.429 | B2 | 616.482 | B2 | 25.348 | B2 | 74.545 | B2 | 19.161 | B2 | 13.268 | B2 | 115.838 | B2 | 431.313 | B2 | 0 | A1 | 193.265 | B2 | 71.293 | B2 | 73.185 | B2 | [8 empty] | 2242.692 | B2
E3.2 | Annual average non-resident connected population | 000 | I/C | 0.402 | B3 | 1.678 | B3 | 0.97 | B3 | 1.256 | B3 | 0.287 | B3 | 0.199 | B3 | 0.158 | B3 | 0.301 | B3 | 0.255 | B3 | 0.162 | B3 | 2.229 | B3 | 0.085 | B3 | 0.119 | B3 | 0.069 | B3 | 0.018 | B3 | 0.615 | B3 | 1.651 | B3 | 0 | A1 | 0.721 | B3 | 0.121 | B3 | 0.174 | B3 | [8 empty] | 11.47 | B3
E3.3 | Population equivalent of total load received | 000 | I/C | 17.186 | B3 | 88.205 | B3 | 239.124 | B3 | 261.647 | B3 | 44.335 | B3 | 32.859 | B3 | 25.826 | B3 | 44.112 | B3 | 24.141 | B3 | 12.396 | B3 | 775.475 | B3 | 30.703 | B3 | 112.969 | B3 | 22.441 | B3 | 14.153 | B3 | 198.241 | B3 | 539.5 | B3 | 0 | A1 | 227.987 | B3 | 83.975 | B3 | 85.013 | B3 | [8 empty] | 2880.288 | B3
Scope of Works
E3.4 | Sewerage | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1
E3.5 | Sewage Treatment | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1
E3.6 | Sludge Treatment | 1/0 | I | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1
E3.7 | Terminal Pumping Station | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1
E3.8 | Other (state details) | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1
Sewage Treatment - Effluent Consent Standard
E3.9 | Suspended solids consent | mg/l | I | 100 | A1 | 100 | A1 | 100 | A1 | 0 | N | 100 | A1 | 0 | N | 0 | N | 100 | A1 | 100 | A1 | 100 | A1 | 375 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 135 | A1 | 0 | N | 500 | A1 | 0 | N | 100 | A1
E3.10 | BOD consent | mg/l | I | 75 | A1 | 75 | A1 | 75 | A1 | 0 | N | 35 | A1 | 0 | N | 0 | N | 75 | A1 | 75 | A1 | 75 | A1 | 0 | N | 15 | A1 | 15 | A1 | 10 | A1 | 10 | A1 | 75 | A1 | 75 | A1 | 0 | N | 200 | A1 | 0 | N | 75 | A1
E3.11 | COD consent | mg/l | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 350 | A1 | 0 | N | 0 | N
E3.12 | Ammonia consent | mg/l | I | 0 | N | 0 | N | 50 | A1 | 0 | N | 35 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 7 | A1 | 2 | A1 | 2 | A1 | 1 | A1 | 0 | N | 20 | A1 | 0 | N | 50 | A1 | 50 | A1 | 0 | N
E3.13 | Phosphate consent | mg/l | I | 0 | N | 0 | N | 0 | N | 0 | N | 2 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.5 | A1 | 0.5 | A1 | 0.5 | A1 | 0.5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.14 | Compliance with effluent consent standard | % | I | 100 | A1 | 100 | A1 | 100 | A1 | 99 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 96 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 0 | N | 100 | A1 | 100 | A1 | 100 | A1
Treatment Works Category
E3.15 | Primary | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | N | 0 | A1 | 1 | A1 | 1 | A1
E3.16 | Secondary activated sludge | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 1 | A1 | 1 | A1 | 1 | A1
E3.17 | Secondary biological | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.18 | Tertiary A1 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.19 | Tertiary A2 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | N | 1 | A1 | 0 | A1 | 0 | A1
E3.20 | Tertiary B1 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.21 | Tertiary B2 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
Sewerage Data
E3.22 | Total length of sewer | km | I/C | 4.2771 | B3 | 10.7444 | B3 | 40.7 | B3 | 35.7 | B3 | 0.412 | B3 | 0.959 | B3 | 1.8 | B3 | 31.566 | B3 | 18.538 | B3 | 9.524 | B3 | 44.045 | B3 | 3.058 | B3 | 0 | N | 0 | N | 0 | N | 8.004 | B3 | 0 | N | 11.8 | B3 | 0 | N | 0 | N | 0.9 | B3 | [8 empty] | 222.0275 | B3
E3.23 | Length of critical sewer | km | I/C
E3.24 | Number of pumping stations | nr | I | 4 | A1 | 4 | A1 | 16 | A1 | 14 | A1 | 0 | N | 0 | N | 1 | A1 | 7 | A1 | 12 | A1 | 10 | A1 | 7 | A1 | 2 | A1 | 0 | N | 0 | N | 1 | A1 | 8 | A1 | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | [8 empty] | 87
E3.25 | Capacity of pumping stations (m3/d) | m3/day | I | 65992.32 | B3 | 247622.4 | B3 | 2480129.28 | B3 | 192871 | B3 | 0 | N | 0 | N | 16848 | B3 | 236563 | B3 | 44240.256 | B3 | 239241.6 | B3 | 238723.2 | B3 | 27043.2 | B3 | 0 | N | 0 | N | 3888 | B3 | 503452.8 | B3 | 0 | N | 10320 | B3 | 0 | N | 0 | N | 0 | N | [8 empty] | 4306935.056
E3.26 | Capacity of pumping stations (kw) | kw | I | 59.1 | B3 | 806 | B3 | 6623 | B3 | 2103 | B3 | 0 | N | 0 | N | 0 | N | 325 | B3 | 525 | B3 | 625 | B3 | 713.2 | B3 | 26 | B3 | 0 | N | 0 | N | 0 | N | 134 | B3 | 0 | N | 660 | B3 | 0 | N | 0 | N | 0 | N | [8 empty] | 12599.3
E3.27 | Number of combined pumping stations | nr | I | 2 | A1 | 1 | A1 | 7 | A1 | 12 | A1 | 0 | N | 0 | N | 0 | N | 4 | A1 | 8 | A1 | 7 | A1 | 6 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 49
E3.28 | Capacity of combined pumping stations (m3/d) | m3/day | I | 4821.12 | B3 | 34214.4 | B3 | 209001.6 | B3 | 96362 | B3 | 0 | N | 0 | N | 0 | N | 65232 | B3 | 23599.296 | B3 | 115948.8 | B3 | 116035.2 | B3 | 10108.8 | B3 | 0 | N | 0 | N | 0 | N | 23328 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 698651.216
E3.29 | Number of stormwater pumping stations | nr | I | 0 | N | 2 | A1 | 6 | A1 | 2 | A1 | 0 | N | 0 | N | 0 | N | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 2 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 15
E3.30 | Capacity of stormwater pumping stations (m3/d) | m3/day | I | 0 | N | 209088 | B3 | 2105740.8 | B3 | 96509 | B3 | 0 | N | 0 | N | 0 | N | 142560 | B3 | 6393.6 | B3 | 56419.2 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 94176 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 2710886.6
E3.31 | Number of combined sewer overflows | nr | I | 2 | A1 | 1 | A1 | 9 | A1 | 8 | A1 | 0 | N | 0 | N | 1 | A1 | 4 | A1 | 10 | A1 | 8 | A1 | 9 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 58
E3.32 | Number of combined sewer overflows (screened) | nr | I | 2 | A1 | 1 | A1 | 9 | A1 | 8 | A1 | 0 | N | 0 | N | 1 | A1 | 4 | A1 | 10 | A1 | 8 | A1 | 9 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 58
Sludge Treatment and Disposal Data
E3.33 | Farmland Untreated | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.34 | Farmland Conventional | ttds | I/C | 0 | N | 1.932 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 1.932 | B4
E3.35 | Farmland Advanced | ttds | I/C | 0 | N | 0 | N | 3.782 | B4 | 12.624 | B4 | 0 | N | 0 | N | 0 | N | 3.017 | B4 | 0 | N | 0 | N | 24.776 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | 1.726 | B4 | 0 | N | 14.55 | B3 | 2.529 | B4 | 0 | N | 0 | N | [8 empty] | 63.004 | B4
E3.36 | Incineration | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1.549 | B4 | 0 | N | 26.822 | B3 | 0 | N | 0 | N | 0 | N | [8 empty] | 28.371 | B3
E3.37 | Landfill | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.38 | Composted | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.39 | Land Reclamation | ttds | I/C | 0 | N | 0 | N | 0 | N | 0.065 | B4 | 0.02 | B4 | 0.026 | B4 | 0.005 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 6.05 | B4 | 0 | N | 6.098 | B4 | 0 | N | 0 | N | [8 empty] | 12.264 | B4
E3.40 | Other | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E3a
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E3a: PPP Cost Analysis
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 300
Line | Description | Units | Field | Highland |  | Highland |  | Tay |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Moray Coast |  | Moray Coast |  | Moray Coast |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | Levenmouth |  | Dalmuir |  | Daldowie |  | MSI |  | MSI |  | MSI | [9 empty] | Total
Ref. |  |  | Type |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
E3a.0 | Name |  |  | Ft William |  | Inverness |  | Hatton |  | Nigg |  | Persley |  | Peterhead |  | Fraserburgh |  | Lossiemouth |  | Buckie |  | Banff/Macduff |  | Seafield |  | Newbridge |  | East Calder |  | Blackburn |  | Whitburn |  | Levenmouth |  | Dalmuir |  | Daldowie |  | Meadowhead |  | Stevenston |  | Inverclyde
Sewerage Costs
E3a.1 | Estimated direct operating cost | £m | I/C | 0.024 | D6 | 0.13 | D6 | 2.703 | D6 | 1.975 | D6 | 0.008 | D6 | 0.063 | D6 | 0.031 | D6 | 1.172 | D6 | 0.724 | D6 | 0.544 | D6 | 0.429 | D6 | 0.001 | D6 | 0 | N | 0 | N | 0 | DX | 0.172 | D6 | 0 | N | 0.552 | D6 | 0 | N | 0 | N | 0 | DX | [8 empty] | 8.528 | D6
E3a.2 | Rates paid by the PPP contractor | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3a.3 | SEPA charges paid by the PPP contractor | £m | I/C | 0.001 | A2 | 0 | N | 0.014 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0.006 | A2 | 0.01 | A2 | 0.013 | A2 | 0.008 | A2 | 0.001 | A2 | 0 | N | 0 | N | 0 | N | 0.001 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0.054 | A2
E3a.4 | Total direct cost | £m | C | 0.025 | D6 | 0.13 | D6 | 2.717 |  | 1.975 | D6 | 0.008 | D6 | 0.063 | D6 | 0.031 | D6 | 1.178 | D6 | 0.734 | D6 | 0.557 | D6 | 0.437 | D6 | 0.002 | D6 | 0 | N | 0 | N | 0 | DX | 0.173 | D6 | 0 | N | 0.552 | D6 | 0 | N | 0 | N | 0 | DX | 0 |  | 0 |  | 0 |  | 0 |  | 8.582 | D6
E3a.5 | Scottish Water general & support expenditure | £m | I/C | 0 | CX | 0.035 | C4 | 0.053 | C4 | 0.131 | C4 | 0 | CX | 0.001 | CX | 0 | CX | 0.02 | C4 | 0.009 | C4 | 0.008 | C4 | 0.005 | C4 | 0 | CX | 0 | N | 0 | N | 0 | CX | 0.005 | C4 | 0 | N | 0.013 | C4 | 0 | N | 0 | N | 0 | CX | [8 empty] | 0.28 | C4
E3a.6 | Scottish Water SEPA charges | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | BX | [8 empty] | 0 | BX
E3a.7 | Total sewerage cost | £m | C | 0.025 | D6 | 0.165 | D6 | 2.77 | D6 | 2.106 | D6 | 0.008 | D6 | 0.064 | D6 | 0.031 | D6 | 1.198 | D6 | 0.743 | D6 | 0.565 | D6 | 0.442 | D6 | 0.002 | D6 | 0 | N | 0 | N | 0 | DX | 0.178 | D6 | 0 | N | 0.565 | D6 | 0 | N | 0 | N | 0 | DX | 0 |  | 0 |  | 0 |  | 0 |  | 8.862 | D6
Sewage Treatment Costs
E3a.8 | Estimated direct operating cost | £m | I/C | 0.391 | D6 | 0.852 | D6 | 2.206 | D6 | 1.627 | D6 | 1.068 | D6 | 0.704 | D6 | 0.812 | D6 | 0.702 | D6 | 0.547 | D6 | 0.826 | D6 | 11.544 | D6 | 1.494 | D6 | 0.782 | D6 | 0.393 | D6 | 0.547 | D6 | 7.88 | D6 | 3.324 | D6 | 0 | N | 2.58 | D6 | 1.594 | D6 | 1.41 | D6 | [8 empty] | 41.283 | D6
E3a.9 | Rates paid by the PPP contractor | £m | I/C | 0.054 | B3 | 0.15 | B3 | 0.119 | B3 | 0.309 | B3 | 0.154 | B3 | 0.063 | B3 | 0.082 | B3 | 0.028 | B3 | 0.032 | B3 | 0.057 | B3 | 1.059 | B3 | 0.099 | B3 | 0.135 | B3 | 0.075 | B3 | 0.047 | B3 | 0.172 | B3 | 0.619 | B3 | 0 | N | 0.25 | B3 | 0.225 | B3 | 0.093 | B3 | [8 empty] | 3.822 | B3
E3a.10 | SEPA charges paid by the PPP contractor | £m | I/C | 0.031 | A2 | 0.086 | A2 | 0.12 | A2 | 0.181 | A2 | 0.047 | A2 | 0.028 | A2 | 0.029 | A2 | 0.051 | A2 | 0.017 | A2 | 0.014 | A2 | 0.289 | A2 | 0.031 | A2 | 0.051 | A2 | 0.024 | A2 | 0.008 | A2 | 0.086 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 1.093 | A2
E3a.11 | Total direct cost | £m | C | 0.476 | D6 | 1.088 | D6 | 2.445 | D6 | 2.117 | D6 | 1.269 | D6 | 0.795 | D6 | 0.923 | D6 | 0.781 | D6 | 0.596 | D6 | 0.897 | D6 | 12.892 | D6 | 1.624 | D6 | 0.968 | D6 | 0.492 | D6 | 0.602 | D6 | 8.138 | D6 | 3.943 | D6 | 0 | N | 2.83 | D6 | 1.819 | D6 | 1.503 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 46.198 | D6
E3a.12 | Scottish Water general & support expenditure | £m | I/C | 0.008 | C4 | 0.29 | C4 | 0.057 | C4 | 0.14 | C4 | 0.011 | C4 | 0.008 | C4 | 0.009 | C4 | 0.015 | C4 | 0.007 | C4 | 0.013 | C4 | 0.147 | C4 | 0.015 | C4 | 0.01 | C4 | 0.005 | C4 | 0.007 | C4 | 0.255 | C4 | 0.026 | C4 | 0 | N | 0.573 | C4 | 0.283 | C4 | 0.39 | C4 | [8 empty] | 2.269 | C4
E3a.13 | Scottish Water SEPA charges | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.268 | A2 | 0 | N | 0.189 | A2 | 0.078 | A2 | 0.076 | A2 | [8 empty] | 0.611 | A2
E3a.14 | Total sewage treatment cost | £m | C | 0.484 | D6 | 1.378 | D6 | 2.502 | D6 | 2.257 | D6 | 1.28 | D6 | 0.803 | D6 | 0.932 | D6 | 0.796 | D6 | 0.603 | D6 | 0.91 | D6 | 13.039 | D6 | 1.639 | D6 | 0.978 | D6 | 0.497 | D6 | 0.609 | D6 | 8.393 | D6 | 4.237 | D6 | 0 | N | 3.592 | D6 | 2.18 | D6 | 1.969 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 49.078 | D6
E3a.15 | Estimated terminal pumping cost | £m | I/C | 0 | M | 0 | N | 0.009 | A3 | 0 | N | 0 | N | 0 | N | 0 | M | 0.002 | A3 | 0 | M | 0 | M | 0 | M | 0 | M | 0 | N | 0 | N | 0 | M | 0 | M | 0 | N | 0 | N | 0.426 | A3 | 0 | N | 0.052 | A3 | [8 empty] | 0.489 | A3
Sludge Treatment and Disposal Costs
E3a.16 | Estimated direct operating cost | £m | I/C | 0 | N | 0.543 | D6 | 3.258 | D6 | 1.84 | D6 | 0 | N | 0 | N | 0 | N | 3.175 | D6 | 0 | N | 0 | N | 2.698 | D6 | 0.856 | D6 | 0 | N | 0 | N | 0 | N | 3.131 | D6 | 2.135 | A3 | 14.17 | D6 | 1.754 | D6 | 0 | N | 0 | N | [8 empty] | 33.56 | D6
E3a.17 | Rates paid by the PPP contractor | £m | I/C | 0 | N | 0.079 | B3 | 0.139 | B3 | 0.271 | B3 | 0 | N | 0 | N | 0 | N | 0.145 | B3 | 0 | N | 0 | N | 0.272 | B3 | 0.091 | B3 | 0 | N | 0 | N | 0 | N | 0.067 | B3 | 0 | N | 0.318 | A2 | 0.177 | B3 | 0 | N | 0 | N | [8 empty] | 1.559 | B3
E3a.18 | SEPA charges paid by the PPP contractor | £m | I/C | 0 | N | -0.016 | A2 | -0.033 | A2 | 0.004 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.013 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0.008 | A2 | 0.005 | A2 | 0.084 | A2 | 0.027 | A2 | 0 | N | 0 | N | [8 empty] | 0.092 | A2
E3a.19 | Total direct cost | £m | C | 0 | N | 0.606 | D6 | 3.364 | D6 | 2.115 | D6 | 0 | N | 0 | N | 0 | N | 3.32 | D6 | 0 | N | 0 | N | 2.983 | D6 | 0.947 | D6 | 0 | N | 0 | N | 0 | N | 3.206 | D6 | 2.14 | A3 | 14.572 | D6 | 1.958 | D6 | 0 | N | 0 | N | 0 |  | 0 |  | 0 |  | 0 |  | 35.211 | D6
E3a.20 | Scottish Water general & support expenditure | £m | I/C | 0 | N | 0.659 | C4 | 0.289 | C4 | 1.143 | C4 | 0 | N | 0 | N | 0 | N | 0.224 | C4 | 0 | N | 0 | N | 0.035 | C4 | 0.009 | C4 | 0 | N | 0 | N | 0 | N | 0.1 | C4 | 1.78 | A3 | 3.487 | C4 | 0.026 | C4 | 0 | N | 0 | N | [8 empty] | 7.752 | C4
E3a.21 | Scottish Water SEPA charges | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3a.22 | Total sludge treatment & disposal cost | £m | C | 0 | N | 1.265 | D6 | 3.653 | D6 | 3.258 | D6 | 0 | N | 0 | N | 0 | N | 3.544 | D6 | 0 | N | 0 | N | 3.018 | D6 | 0.956 | D6 | 0 | N | 0 | N | 0 | N | 3.306 | D6 | 3.92 | A3 | 18.059 | D6 | 1.984 | D6 | 0 |  | 0 | N | 0 |  | 0 |  | 0 |  | 0 |  | 42.963 | D6
Total Cost Analysis
E3a.23 | Total direct cost | £m | C | 0.501 | D6 | 1.824 | D6 | 8.526 | D6 | 6.207 | D6 | 1.277 | D6 | 0.858 | D6 | 0.954 | D6 | 5.279 | D6 | 1.33 | D6 | 1.454 | D6 | 16.312 | D6 | 2.573 | D6 | 0.968 | D6 | 0.492 | D6 | 0.602 | D6 | 11.517 | D6 | 6.083 | D6 | 15.124 | D6 | 4.788 | D6 | 1.819 | D6 | 1.503 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 89.991 | D6
E3a.24 | Total Scottish Water cost | £m | C | 0.008 | C4 | 0.984 | C4 | 0.399 | C4 | 1.414 | C4 | 0.011 | C4 | 0.009 | C4 | 0.009 | C4 | 0.259 | C4 | 0.016 | C4 | 0.021 | C4 | 0.187 | C4 | 0.024 | C4 | 0.01 | C4 | 0.005 | C4 | 0.007 | C4 | 0.36 | C4 | 2.074 | C4 | 3.5 | C4 | 0.788 | C4 | 0.361 | C4 | 0.466 | C4 | 0 |  | 0 |  | 0 |  | 0 |  | 10.912 | C4
E3a.25 | Total operating cost | £m | C | 0.509 | D6 | 2.808 | D6 | 8.925 | D6 | 7.621 | D6 | 1.288 | D6 | 0.867 | D6 | 0.963 | D6 | 5.538 | D6 | 1.346 | D6 | 1.475 | D6 | 16.499 | D6 | 2.597 | D6 | 0.978 | D6 | 0.497 | D6 | 0.609 | D6 | 11.877 | D6 | 8.157 | D6 | 18.624 | D6 | 5.576 | D6 | 2.18 | D6 | 1.969 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 100.903 | D6
E3a.26 | Annual charge | £m | I/C | 3.613 | A1 | 8.205 | A1 | 24.07 | A1 | 15.275 | A1 | 2.924 | A1 | 2.632 | A1 | 2 | A1 | 4.905 | A1 | 2.964 | A1 | 3.3 | A1 | 23.822 | B3 | 3.199 | B3 | 1.745 | B3 | 0.873 | B3 | 1.163 | B3 | 20.274 | A1 | 11.554 | A1 | 21.526 | A1 | 4.879 | A1 | 3.497 | A1 | 3.638 | A1 | [8 empty] | 166.058 | A1
E3a.27 | Public sector capital equivalent value | £m | I | 26.068 | B3 | 84.159 | B3 | 225.976 | B3 | 124.596 | B3 | 30.259 | B3 | 24.919 | B3 | 30.259 | B3 | 55.325 | B3 | 40.835 | B3 | 35.566 | B3 | 96.523 | B3 | 13.97 | B3 | 7.62 | B3 | 3.81 | B3 | 5.08 | B3 | 48.251 | B3 | 83.765 | B3 | 126.913 | B3 | 88.31 | B3 | 25.021 | B3 | 24.138 | B3 | [8 empty] | 1201.363 | B3
Contract Information
E3a.28 | Contract period | years | I | 25 | A1 | 25 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 40 | A1 | 25 | A1 | 24 | A1 | 30 | A1 | 30 | A1 | 30 | A1
E3a.29 | Contract end date | dd/mm/yy | I | 2022-05-28 | A1 | 2022-05-28 | A1 | 2029-12-16 | A1 | 2030-05-04 | A1 | 2030-05-04 | A1 | 2030-05-04 | A1 | 2030-05-04 | A1 | 2031-06-25 | A1 | 2031-06-25 | A1 | 2031-06-25 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2040-10-30 | A1 | 2026-06-15 | A1 | 2026-04-01 | A1 | 2032-09-29 | A1 | 2032-09-29 | A1 | 2032-09-29 | A1
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: …...............

## E4
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E4: Water Resources and Treatment
|  |  |  | 10 | 20 | 30 | 40 | 100 | 110 | 120 | 130 | 140 | 200 | 299
Line | Description | Units | Field | 10: Number of Own Sources; 100: Total Number of Sources; 110: Own Source Outputs; 200: Total Source Outputs | CG
Ref. |  |  | Type | Area 1 | Area 2 | Area 3 | Area 4 |  | Area 1 | Area 2 | Area 3 | Area 4
| Source Types |  |  | 10: number; 110: average daily output (Ml/d); 200: Ml/d
E4.0 | Area Name | - | I | North | East | South | West |  | North | East | South | West
E4.1 | Impounding reservoirs | nr, Ml/d | I/C | 30 | 20 | 25 | 21 | 96 | 81.9229 | 298.9155 | 439.481 | 531.3977 | 1351.7171 | B2
E4.2 | Lochs | nr, Ml/d | I/C | 29 | 8 | 0 | 1 | 38 | 12.1005 | 9.2792 | 0 | 0 | 21.3797 | B2
E4.3 | River and burn abstractions | nr, Ml/d | I/C | 43 | 15 | 1 | 14 | 73 | 11.2297 | 162.4041 | 0.025476 | 217.2069 | 390.8662 | B2
E4.4 | Boreholes | nr, Ml/d | I/C | 20 | 29 | 11 | 2 | 62 | 18.2464 | 26.7243 | 24.789 | 3.231 | 72.9907 | B2
E4.5 | Total | nr, Ml/d | C | 122 | 72 | 37 | 38 | 269 | 123.4996 | 497.3231 | 464.2954 | 751.8356 | 1836.9537 | B2
E4.6 | Bulk water exports | nr, Ml/d | I/C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | A1
E4.7 | Bulk water imports | nr, Ml/d | I/C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | A1
[9 empty] | 110 | 120 | 130 | 140 | 200
[9 empty] | Proportional Breakdown of Source output produced |  |  |  | Proportion of Own Source Output
[9 empty] | Area 1 | Area 2 | Area 3 | Area 4
E4.8 | Impounding reservoirs | nr | C | 110: 0.044597; 120: 0.16272; 130: 0.23924; 140: 0.28928; 200: 0.73585
E4.9 | Lochs | nr | C | 110: 0.0065873; 120: 0.0050514; 130: 0; 140: 0; 200: 0.011639
E4.10 | River and burn abstractions | nr | C | 110: 0.0061132; 120: 0.088409; 130: 1.3869e-05; 140: 0.11824; 200: 0.21278
E4.11 | Boreholes | nr | C | 110: 0.009933; 120: 0.014548; 130: 0.013495; 140: 0.0017589; 200: 0.039735
E4.12 | Total | nr | C | 110: 0.067231; 120: 0.27073; 130: 0.25275; 140: 0.40928; 200: 1
|  |  |  | 10 | 20
| Peak demand and Pumping Head |  |  | 10: Total; 20: CG
E4.13 | Peak demand - peak to average ratio | nr | I | 10: 1.078; 20: C3
E4.14 | Average pumping head - resources and treatment | m | I | 10: 27.512; 20: C4
|  |  |  | 10 | 20 | 30 | 40 | 100 | 110
|  |  |  | Resource and treatment - Costs |  |  |  |  | CG
|  |  |  | Area 1 | Area 2 | Area 3 | Area 4 | Total
Resources and Treatment costs (operational area) | bar: C4 100 to C4 110
E4.15 | Power | £m | I/C | 3.504 | 4.195 | 2.373 | 4.115 | 14.187 | A2
E4.16 | Service charges by SEPA | £m | I/C | 0.468 | 0.436 | 0.422 | 0.545 | 1.871 | A2
E4.17 | Total direct costs | £m | I/C | 12.05 | 15.486 | 10.67 | 16.026 | 54.232 | A2
E4.18 | General and support costs | £m | I/C | 3.464 | 2.273 | 0.26 | 3.566 | 9.563 | A2
E4.19 | Functional expenditure | £m | C | 15.514 | 17.759 | 10.93 | 19.592 | 63.795 | A2
|  |  |  | 10 | 20 | 30 | 40 | 100 | 110 | 120
|  |  |  | Total Nr of Works |  | Total volume Dist'n input |  | Tot. prop'n of D.I. | Operating Costs
| Water Treatment Works by Process Type |  |  | nr | CG | Ml/d | CG | Prop'n (0-1) | £m | CG
E4.20 | Simple Disinfection | nr, Ml/d, £m | I/C | 21 | A2 | 24.356 | B3 | 0.013259 | 1.24 | A2
E4.21 | W1 | nr, Ml/d, £m | I/C | 6 | A2 | 0.341 | B3 | 0.00018563 | 0.419 | A2
E4.22 | W2 | nr, Ml/d, £m | I/C | 24 | A2 | 651.243 | B3 | 0.35453 | 11.154 | A2
E4.23 | W3 | nr, Ml/d, £m | I/C | 156 | A2 | 1082.449 | B3 | 0.58927 | 45.162 | A2
E4.24 | W4 | nr, Ml/d, £m | I/C | 24 | A2 | 78.55 | B3 | 0.042761 | 5.82 | A2
E4.25 | Total numbers of works | nr | C | 10: 231; 20: A2
E4.26 | Total distribution input | Ml/d | C | 30: 1836.939; 40: B2; 100: 1
E4.27 | Total Operating costs | £m | C | 110: 63.795; 120: A2
|  |  |  | 10 | 20 | 30 | 40 | 100 | 110
|  |  |  | Nr of Works |  | Prop'n of D.I. |  | Operating Costs
| Water Treatment Works by Size Band |  |  | nr | CG | Prop'n (0-1) | CG | £m | CG
E4.28 | Size band <=1 Ml/d | nr, £m | I/C | 127 | A2 | 0.012 | B3 | 9.364 | A2
E4.29 | Size band >1 - <=2.5 Ml/d | nr, £m | I/C | 22 | A2 | 0.013 | B3 | 3.436 | A2
E4.30 | Size band >2.5 - <=5 Ml/d | nr, £m | I/C | 22 | A2 | 0.028 | B3 | 4.249 | A2
E4.31 | Size band >5 - <=10 Ml/d | nr, £m | I/C | 15 | A2 | 0.043 | B3 | 5.534 | A2
E4.32 | Size band >10 - <=25 Ml/d | nr, £m | I/C | 18 | A2 | 0.108 | B3 | 10.353 | A2
E4.33 | Size band >25 - <=50 Ml/d | nr, £m | I/C | 12 | A2 | 0.158 | B3 | 11.866 | A2
E4.34 | Size band >50 - <=100 Ml/d | nr, £m | I/C | 9 | A2 | 0.225 | B3 | 8.575 | A2
E4.35 | Size band >100 - <=175 Ml/d | nr, £m | I/C | 4 | A2 | 0.203 | B3 | 6.792 | A2
E4.36 | Size band >175 Ml/d | nr, £m | I/C | 2 | A2 | 0.21 | B3 | 3.626 | A2
E4.37 | Total number of works | nr | C | 10: 231; 20: A2
E4.38 | Proportion of distribution input - total | nr | C | bar: 30 to 40
E4.39 | Total operating costs | £m | C | 100: 63.795; 63.795 110: A2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E6
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E6: Water Distribution
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 50 |  | 60 |  | 199
Line | Description | Units | Field | Report Year 2021-22
Ref. |  |  | Type | Area 1 |  | Area 2 |  | Area 3 |  | Area 4 |  | Area 5 |  | Area 6 |  | Area 7 |  | Area 8 |  | Total
[5 empty] | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Area Data
E6.0 | Name | Name | I | North |  | East |  | South |  | West
E6.1 | Annual average resident connected population | 000 | I/C | 274.052 | B2 | 1318.094 | B2 | 1791.853 | B2 | 1824.011 | B2 | [8 empty] | 5208.01 | B2
E6.2 | Total connected properties | 000 | I/C | 161.535 | B4 | 715.606 | B4 | 921.761 | B4 | 963.705 | B4 | [8 empty] | 2762.607 | B4
E6.3 | Volume of water delivered to households | Ml/d | I/C | 65.68 | B2 | 281 | B2 | 369.14 | B2 | 362.72 | B2 | [8 empty] | 1078.54 | B2
E6.4 | Volume of water delivered to non-households | Ml/d | I/C | 22.16 | B4 | 97.32 | B4 | 94.47 | B4 | 163.08 | B4 | [8 empty] | 377.03 | B4
E6.5 | Area | km2 | I/C | 35211.1545 | A1 | 20385.1469 | A1 | 15475.6386 | A1 | 8744.4208 | A1 | [8 empty] | 79816.3607 | A1
E6.6 | Number of supply zones | nr | I/C | 111 | A1 | 58 | A1 | 52 | A1 | 58 | A1 | [8 empty] | 279 | A1
Distribution costs
E6.7 | Power | £m | I/C | 0.797 | A2 | 3.33 | A2 | 0.95 | A2 | 6.068 | A2 | [8 empty] | 11.145 | A2
E6.8 | Service charges by SEPA | £m | I/C | 0.005 | A2 | 0.001 | A2 | 0.001 | A2 | 0.002 | A2 | [8 empty] | 0.009 | A2
E6.9 | Total direct costs | £m | I/C | 10.239 | A2 | 16.837 | A2 | 12.973 | A2 | 19.996 | A2 | [8 empty] | 60.045 | A2
E6.10 | General and support costs | £m | I/C | 3.394 | A2 | 5.083 | A2 | 4.29 | A2 | 4.749 | A2 | [8 empty] | 17.516 | A2
E6.11 | Functional expenditure | £m | C | 13.633 | A2 | 21.92 | A2 | 17.263 | A2 | 24.745 | A2 | 0 |  | 0 |  | 0 |  | 0 |  | 77.561 | A2
Water mains data
E6.12 | Potable mains: Band 1 ( <=165mm) | km | I | 6358.819 | A2 | 11684.631 | A2 | 10111.208 | A2 | 7932.919 | A2 | [8 empty] | 36087.577 | A2
E6.13 | Potable mains: Band 2 ( 166 - 320mm) | km | I | 1260.931 | A2 | 2439.537 | A2 | 2826.901 | A2 | 2338.052 | A2 | [8 empty] | 8865.421 | A2
E6.14 | Potable mains: Band 3 ( 321 - 625mm) | km | I | 173.969 | A2 | 983.635 | A2 | 1162.553 | A2 | 780.152 | A2 | [8 empty] | 3100.309 | A2
E6.15 | Potable mains: Band 4 ( >625mm) | km | I | 7.997 | A2 | 140.829 | A2 | 313.153 | A2 | 430.101 | A2 | [8 empty] | 892.08 | A2
E6.16 | Total length of mains | km | C | 7801.716 | A1 | 15248.632 | A1 | 14413.815 | A1 | 11481.224 | A1 | 0 |  | 0 |  | 0 |  | 0 |  | 48945.387 | A1
E6.17 | Total length of unlined iron mains | km | I | 734.15 | A2 | 3031.103 | A2 | 5964.102 | A2 | 4693.302 | A2 | [8 empty] | 14422.657 | A2
E6.18 | Total length of mains > 320mm diameter | km | C | 181.966 | A2 | 1124.464 | A2 | 1475.706 | A2 | 1210.253 | A2 | 0 |  | 0 |  | 0 |  | 0 |  | 3992.389 | A2
E6.19 | Water mains bursts | nr | I | 1096 | B2 | 1512 | B2 | 2078 | B2 | 2009 | B2 | [8 empty] | 6695 | B2
E6.20 | Leakage level | Ml/d | I | 42.473 | B3 | 80.4842 | B3 | 127.8767 | B3 | 180.0993 | B3 | [8 empty] | 430.9331 | B3
E6.21 | Properties reported for low pressure | nr | I/C | 53 | B2 | 115 | B2 | 43 | B2 | 11 | B2 | [8 empty] | 222 | B2
Pumping Stations
E6.22 | Total number of pumping stations | nr | I/C | 183 | A2 | 186 | A2 | 132 | A2 | 122 | A2 | [8 empty] | 623 | A2
E6.23 | Total capacity of pumping stations | m3/d | I/C | 162514.26 | C4 | 599526.93 | C4 | 631740.85 | C4 | 1036274.33 | C4 | [8 empty] | 2430056.37 | C4
E6.24 | Total capacity of booster pumping stations | Kw | I/C | 3229.77 | A3 | 11540.58 | A3 | 11014.84 | A3 | 17201.23 | A3 | [8 empty] | 42986.42 | A3
E6.25 | Average pumping head | m | I | 21.457 | C4 | 28.544 | C4 | 32.469 | C4 | 29.871 | C4 | [8 empty] | 29.651 | C4
Service Reservoirs
E6.26 | Total number of service reservoirs | nr | I/C | 395 | A2 | 443 | A2 | 241 | A2 | 214 | A2 | [8 empty] | 1293 | A2
E6.27 | Total capacity of service reservoirs | Ml | I/C | 224.191 | A2 | 1213.509 | A2 | 990.773 | A2 | 1520.404 | A2 | [8 empty] | 3948.877 | A2
Water Towers
E6.28 | Total number of water towers | nr | I/C | 3 | A2 | 5 | A2 | 6 | A2 | 4 | A2 | [8 empty] | 18 | A2
E6.29 | Total capacity of tower towers | Ml | I/C | 0.532 | A2 | 3.613 | A2 | 12.544 | A2 | 12.577 | A2 | [8 empty] | 29.266 | A2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E7
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E7: Wastewater Explanatory Factors - Sewerage & Sewage treatment by area
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 199
Line | Description | Units | Field | Report Year 2021-22
Ref. |  |  | Type | Area 1 |  | Area 2 |  | Area 3 |  | Area 4 |  | Total
[5 empty] | CG |  | CG |  | CG |  | CG |  | CG
Area Data
E7.0 | Name | Name | I | North |  | East |  | South |  | West
E7.1 | Annual average resident connected population | 000 | I/C | 219.57 | B2 | 1241.021 | B2 | 1742.886 | B2 | 1797.171 | B2 | 5000.648 | B2
E7.2 | Annual average non-resident connected population | 000 | I/C | 10.385 | B3 | 12.407 | B3 | 8.634 | B3 | 7.046 | B3 | 38.472 | B3
E7.3 | Volume of sewage collected (daily average) | Ml/d | I/C | 185.532 | C3 | 731.429 | C3 | 1058.918 | C3 | 1070.773 | C3 | 3046.652 | C3
E7.4 | Total connected properties | nr | I/C | 126339 | B3 | 668033 | B3 | 884787 | B3 | 950955 | B3 | 2630114 | B3
E7.5 | Area of Sewerage District | km2 | I/C | 35211 | A1 | 20385 | A1 | 15476 | A1 | 8744 | A1 | 79816 | A1
E7.6 | Drained Area | km2 | I/C | 158.4547 | A1 | 536.521 | A1 | 626.5174 | A1 | 653.2267 | A1 | 1974.7199 | A1
E7.7 | Annual Precipitation | mm | I | 1268 | A2 | 942 | A2 | 1078 | A2 | 1245 | A2 | 1133 | A2
Sewerage Data
E7.8 | Total length of sewer | km | I/C | 3845.576 | B2 | 14205.45 | B2 | 18305.984 | B2 | 17244.895 | B2 | 53601.905 | B2
E7.9 | Total length of lateral sewer | km | I/C | 993.92 | B2 | 4954.443 | B2 | 6601.4 | B2 | 7008.237 | B2 | 19558 | B2
E7.10 | Length of combined sewer | km | I/C | 1472.095 | B2 | 4428.859 | B2 | 5501.544 | B2 | 6193.315 | B2 | 17595.813 | B2
E7.11 | Length of separate stormwater sewer | km | I/C | 579.527 | B2 | 2533.182 | B2 | 3332.453 | B2 | 2263.809 | B2 | 8708.971 | B2
E7.12 | Length of sewer > 1000 mm diameter | km | I/C | 14.981 | B2 | 163.839 | B2 | 266.86 | B2 | 414.867 | B2 | 860.547 | B2
E7.14 | Sewer Collapses | nr | I/C | 12 | B4 | 380 | B4 | 486 | B4 | 556 | B4 | 1434 | B4
Sewerage costs
E7.15 | Power | £m | I/C | 0.841 | A2 | 2.008 | A2 | 2.015 | A2 | 3.318 | A2 | 8.182 | A2
E7.16 | Service charges by SEPA | £m | I/C | 0.31 | A2 | 0.935 | A2 | 1.03 | A2 | 1.037 | A2 | 3.312 | A2
E7.17 | Total direct costs | £m | I/C | 4.078 | A2 | 9.547 | A2 | 10.242 | A2 | 12.078 | A2 | 35.945 | A2
E7.18 | General and support costs | £m | I/C | 2.04 | A2 | 3.22 | A2 | 3.105 | A2 | 3.212 | A2 | 11.577 | A2
E7.19 | Functional expenditure | £m | C | 6.118 | A2 | 12.767 | A2 | 13.347 | A2 | 15.29 | A2 | 47.522 | A2
Sustainable Urban Drainage Systems (SUDS)
E7.20 | SUDS ponds | nr | I/C | 3 | A3 | 5 | A3 | 17 | A3 | 8 | A3 | 33 | A3
E7.21 | SUDS basins | nr | I/C | 23 | A3 | 62 | A3 | 23 | A3 | 22 | A3 | 130 | A3
E7.22 | Filter trenches | nr | I/C | 17 | A3 | 9 | A3 | 37 | A3 | 27 | A3 | 90 | A3
E7.23 | Swales | nr | I/C | 1 | A3 | 5 | A3 | 3 | A3 | 4 | A3 | 13 | A3
E7.24 | Other (e.g. wetland) | nr | I/C | 0 | A3 | 0 | A3 | 3 | A3 | 0 | A3 | 3 | A3
E7.25 | Total SUDS | nr | C | 44 | A3 | 81 | A3 | 83 | A3 | 61 | A3 | 269 | A3
SUDS costs
E7.26 | Power | £m | I/C | - | N | - | N | - | N | - | N | #VALUE! | N
E7.27 | Service charges by SEPA | £m | I/C | - | N | - | N | - | N | - | N | #VALUE! | N
E7.28 | Total direct costs | £m | C | - | N | - | N | - | N | - | N | #VALUE! | N
E7.29 | General and support costs | £m | I/C | - | N | - | N | - | N | - | N | #VALUE! | N
E7.30 | Functional expenditure | £m | C | #VALUE! | N | #VALUE! | N | #VALUE! | N | #VALUE! | N | #VALUE! | N
Pumping Stations
E7.31 | Total number of pumping stations | nr | I/C | 528 | A3 | 806 | A3 | 452 | A3 | 473 | A3 | 2259 | A3
E7.32 | Total capacity of pumping stations (m3/d) | m3/d | I/C | 1992339 | C4 | 3968062 | C4 | 3577414 | C4 | 6452807 | C4 | 15990622 | C4
E7.33 | Total capacity of pumping stations (kw) | Kw | I/C | 11631.94 | A3 | 27690.86 | A3 | 18564.19 | A3 | 41571.04 | A3 | 99458.03 | A3
E7.34 | Average pumping head | m | I | 56.23 | C5 | 31.88 | C5 | 18.43 | C5 | 38.96 | C5 | 32 | C5
E7.35 | Total number of combined pumping stations | nr | I/C | 313 | A3 | 458 | A3 | 262 | A3 | 289 | A3 | 1322 | A3
E7.36 | Total capacity of combined pumping stations | m3/d | I/C | 1455063 | C4 | 2984276 | C4 | 2717137 | C4 | 4669461 | C4 | 11825937 | C4
E7.37 | Total number of stormwater pumping stations | nr | I/C | 16 | A3 | 15 | A3 | 5 | A3 | 10 | A3 | 46 | A3
E7.38 | Total capacity of stormwater pumping stations | m3/d | I/C | 103641 | C4 | 176684 | C4 | 25335 | C4 | 386712 | C4 | 692372 | C4
E7.39 | Number of combined sewer overflows | nr | I/C | 385 | A3 | 787 | A3 | 959 | A3 | 1045 | A3 | 3176 | A3
E7.40 | Number of combined sewer overflows (screened) | nr | I/C | 228 | A3 | 262 | A3 | 388 | A3 | 534 | A3 | 1412 | A3
Sewage treatment works
E7.41 | Number of sewage treatment works | nr | I/C | 561 | A2 | 584 | A2 | 482 | A2 | 207 | A2 | 1834 | A2
E7.42 | Total Load | kg BOD/day | I/C | 12358 | B3 | 44339 | B3 | 68038 | B3 | 91313 | B3 | 216048 | B3
Sewage treatment costs
E7.43 | Power | £m | I/C | 1.929 | A2 | 3.985 | A2 | 6.44 | A2 | 5.966 | A2 | 18.32 | A2
E7.44 | Service charges by SEPA | £m | I/C | 0.911 | A2 | 1.75 | A2 | 2.084 | A2 | 1.458 | A2 | 6.203 | A2
E7.45 | Total direct costs | £m | I/C | 7.479 | A2 | 13.967 | A2 | 17.66 | A2 | 14.508 | A2 | 53.614 | A2
E7.46 | General and support costs | £m | I/C | 1.328 | A2 | 2.422 | A2 | 3.058 | A2 | 3.13 | A2 | 9.938 | A2
E7.47 | Functional expenditure | £m | C | 8.807 | A2 | 16.389 | A2 | 20.718 | A2 | 17.638 | A2 | 63.552 | A2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E8
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E8: Wastewater Explanatory Factors - Sewage Treatment Works
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 199
Line | Description | Units | Field | Treatment Category | [21 empty] | Total
Ref. |  |  | Type
|  |  |  | Septic Tanks | CG | Primary | CG | Sec Activated Sludge | CG | Sec biological | CG | Tertiary A1 | CG | Tertiary A2 | CG | Tertiary B1 | CG | Tertiary B2 | CG | Sea Preliminary | CG | Sea Screened | CG | Sea Unscreened | CG |  | CG
Numbers
E8.1 | Size Band 0 | nr | I/C | 973 | B3 | 3 | B3 | 9 | B3 | 103 | B3 | 8 | B3 | 2 | B3 | 9 | B3 | 1 | B3 | 0 | AX | 0 | AX | 6 | B3 | 1114 | B3
E8.2 | Size Band 1 | nr | I/C | 106 | B3 | 8 | B3 | 18 | B3 | 44 | B3 | 4 | B3 | 3 | B3 | 11 | B3 | 3 | B3 | 0 | AX | 0 | AX | 0 | AX | 197 | B3
E8.3 | Size Band 2 | nr | I/C | 65 | B3 | 7 | B3 | 24 | B3 | 43 | B3 | 2 | B3 | 3 | B3 | 8 | B3 | 2 | B3 | 0 | AX | 0 | AX | 0 | AX | 154 | B3
E8.4 | Size Band 3 | nr | I/C | 33 | B3 | 13 | B3 | 39 | B3 | 65 | B3 | 7 | B3 | 4 | B3 | 18 | B3 | 5 | B3 | 0 | AX | 3 | B3 | 0 | AX | 187 | B3
E8.5 | Size Band 4 | nr | I/C | 0 | AX | 7 | B3 | 45 | B3 | 38 | B3 | 9 | B3 | 3 | B3 | 10 | B3 | 2 | B3 | 8 | B3 | 0 | AX | 0 | AX | 122 | B3
E8.6 | Size Band 5 | nr | I/C | 0 | AX | 1 | B3 | 23 | B3 | 3 | B3 | 5 | B3 | 4 | B3 | 2 | B3 | 1 | B3 | 0 | AX | 0 | AX | 0 | AX | 39 | B3
E8.7 | Size Band 6 (Large Works) | nr | I/C | 0 | AX | 0 | AX | 18 | B3 | 1 | B3 | 1 | B3 | 0 | AX | 1 | B3 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 21 | B3
E8.8 | Total Sewage Treatment Works | nr | C | 1177 | B3 | 39 | B3 | 176 | B3 | 297 | B3 | 36 | B3 | 19 | B3 | 59 | B3 | 14 | B3 | 8 | B3 | 3 | B3 | 6 | B3 | 1834 | B3
E8.9 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | nr | I/C | 0 | AX | 0 | AX | 12 | A1 | 26 | A1 | 5 | A1 | 0 | AX | 4 | A1 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 47 | A1
E8.10 | Small Sewage treatment works with ammonia consent <= 5 mg/l | nr | I/C | 0 | AX | 0 | AX | 20 | A1 | 17 | A1 | 13 | A1 | 3 | A1 | 12 | A1 | 5 | A1 | 0 | AX | 0 | AX | 0 | AX | 70 | A1
| Loading (average daily load) | [24 empty] | Total excluding Septic Tanks
E8.11 | Size Band 0 | kg BOD/day | I/C | 1554 | B3 | 11 | B3 | 38 | B3 | 262 | B3 | 35 | B3 | 6 | B3 | 31 | B3 | 6 | B3 | 0 | AX | 0 | AX | 12 | B3 | 401 | B3
E8.12 | Size Band 1 | kg BOD/day | I/C | 1077 | B3 | 80 | B3 | 173 | B3 | 474 | B3 | 40 | B3 | 33 | B3 | 118 | B3 | 27 | B3 | 0 | AX | 0 | AX | 0 | AX | 945 | B3
E8.13 | Size Band 2 | kg BOD/day | I/C | 1332 | B3 | 182 | B3 | 533 | B3 | 946 | B3 | 55 | B3 | 63 | B3 | 182 | B3 | 39 | B3 | 0 | AX | 0 | AX | 0 | AX | 2000 | B3
E8.14 | Size Band 3 | kg BOD/day | I/C | 1759 | B3 | 844 | B3 | 2724 | B3 | 4294 | B3 | 457 | B3 | 259 | B3 | 1066 | B3 | 392 | B3 | 0 | AX | 205 | B3 | 0 | AX | 10241 | B3
E8.15 | Size Band 4 | kg BOD/day | I/C | 0 | AX | 1610 | B3 | 13974 | B3 | 10520 | B3 | 2484 | B3 | 584 | B3 | 2962 | B3 | 450 | B3 | 1769 | B3 | 0 | AX | 0 | AX | 34353 | B3
E8.16 | Size Band 5 | kg BOD/day | I/C | 0 | AX | 634 | B3 | 20342 | B3 | 2476 | B3 | 4743 | B3 | 3301 | B3 | 2020 | B3 | 802 | B3 | 0 | AX | 0 | AX | 0 | AX | 34318 | B3
E8.17 | Size Band 6 (large works) | kg BOD/day | I/C | 0 | AX | 0 | AX | 105527 | B3 | 3563 | B3 | 17326 | B3 | 0 | AX | 2032 | B3 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 128448 | B3
E8.18 | Total Load Received | kg BOD/day | C | 5722 | B3 | 3361 | B3 | 143311 | B3 | 22535 | B3 | 25140 | B3 | 4246 | B3 | 8411 | B3 | 1716 | B3 | 1769 | B3 | 205 | B3 | 12 | B3 | 210706 | B3
E8.19 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | kg BOD/day | I/C | 0 | AX | 0 | AX | 2855.6185 | A1 | 1916.8475 | A1 | 2126.3195 | A1 | 0 | AX | 233.0272 | A1 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 7131.8127 | A1
E8.20 | Small Sewage treatment works with ammonia consent <= 5 mg/l | kg BOD/day | I/C | 0 | AX | 0 | AX | 20750.1183 | A1 | 2235.5661 | A1 | 19164.0463 | A1 | 2492.8362 | A1 | 2359.0426 | A1 | 1433.4063 | A1 | 0 | AX | 0 | AX | 0 | AX | 48435.0159 | A1
Compliance
E8.21 | Size Band 0 | % | I |  |  | 100% | B2 | 100% | B2 | 98% | B2 | 100% | B2 | 100% | B2 | 89% | B2 | 100% | B2 | 0% | AX | 0% | AX | 100% | B2
E8.22 | Size Band 1 | % | I/C |  |  | 100% | B2 | 94% | B2 | 100% | B2 | 100% | B2 | 67% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.23 | Size Band 2 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 75% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.24 | Size Band 3 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 40% | B2 | 0% | AX | 100% | B2 | 0% | AX
E8.25 | Size Band 4 | % | I/C |  |  | 100% | B2 | 98% | B2 | 95% | B2 | 89% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX
E8.26 | Size Band 5 | % | I/C |  |  | 100% | B2 | 91% | B2 | 100% | B2 | 80% | B2 | 100% | B2 | 50% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.27 | Size Band 6 (large works) | % | I/C |  |  | 0% | AX | 78% | B2 | 100% | B2 | 0% | AX | 0% | AX | 100% | B2 | 0% | AX | 0% | AX | 0% | AX | 0% | AX
E8.28 | Average compliance by works - all sizes | % | I/C |  |  | 100% | B2 | 95% | B2 | 99% | B2 | 92% | B2 | 95% | B2 | 93% | B2 | 93% | B2 | 100% | B2 | 100% | B2 | 100% | B2
E8.29 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | % | I/C |  |  | 0% | AX | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 100% | B2 | 0% | AX | 0% | AX | 0% | AX | 0% | AX
E8.30 | Small Sewage treatment works with ammonia consent <= 5 mg/l | % | I/C |  |  | 0% | AX | 85% | B2 | 88% | B2 | 85% | B2 | 100% | B2 | 92% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
| Costs | [24 empty] | Total
E8.31 | Direct costs for works in size band 0 | £000 | I/C | 1118.999 | A2 | 5.172 | A2 | 79.877 | A2 | 459.015 | A2 | 120.368 | A2 | 20.839 | A2 | 64.347 | A2 | 14.7 | A2 | 0 | AX | 0 | AX | 4.671 | A2 | 1887.988 | A2
E8.32 | Direct costs for works in size band 1 | £000 | I/C | 590.1 | A2 | 25.961 | A2 | 270.204 | A2 | 479.389 | A2 | 49.607 | A2 | 78.06 | A2 | 197.226 | A2 | 53.534 | A2 | 0 | AX | 0 | AX | 0 | AX | 1744.081 | A2
E8.33 | Direct costs for works in size band 2 | £000 | I/C | 742.898 | A2 | 91.135 | A2 | 870.61 | A2 | 959.106 | A2 | 38.344 | A2 | 113.173 | A2 | 215.208 | A2 | 72.594 | A2 | 0 | AX | 0 | AX | 0 | AX | 3103.068 | A2
E8.34 | Direct costs for works in size band 3 | £000 | I/C | 589.542 | A2 | 456.484 | A2 | 2282.881 | A2 | 2560.468 | A2 | 521.759 | A2 | 406.861 | A2 | 919.955 | A2 | 369.866 | A2 | 0 | AX | 42.25 | A2 | 0 | AX | 8150.066 | A2
E8.35 | Direct costs for works in size band 4 | £000 | I/C | 0 | AX | 364.824 | A2 | 5616.151 | A2 | 3669.858 | A2 | 1079.949 | A2 | 343.093 | A2 | 1422.5 | A2 | 395.961 | A2 | 230.441 | A2 | 0 | AX | 0 | AX | 13122.777 | A2
E8.36 | Direct costs for works in size band 5 | £000 | I/C | 0 | AX | 323.216 | A2 | 5891.279 | A2 | 508.753 | A2 | 1270.304 | A2 | 1177.489 | A2 | 549.694 | A2 | 284.02 | A2 | 0 | AX | 0 | AX | 0 | AX | 10004.755 | A2
E8.37 | Direct costs for works in size band 6 (large works) | £000 | I/C | 0 | AX | 0 | AX | 13504.804 | A2 | 722.702 | A2 | 1187.477 | A2 | 0 | AX | 186.793 | A2 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 15601.776 | A2
E8.38 | Direct costs for all sewage treatment works | £000 | C | 3041.539 | A2 | 1266.792 | A2 | 28515.806 | A2 | 9359.291 | A2 | 4267.808 | A2 | 2139.515 | A2 | 3555.723 | A2 | 1190.675 | A2 | 230.441 | A2 | 42.25 | A2 | 4.671 | A2 | 53614.511 | A2
E8.39 | General and support expenditure | £000 | I/C | 356.126 | A2 | 292.181 | A2 | 5369.582 | A2 | 1887.233 | A2 | 597.818 | A2 | 403.955 | A2 | 739.32 | A2 | 228.429 | A2 | 55.425 | A2 | 6.277 | A2 | 1.108 | A2 | 9937.454 | A2
E8.40 | Functional expenditure | £000 | C | 3397.665 | A2 | 1558.973 | A2 | 33885.388 | A2 | 11246.524 | A2 | 4865.626 | A2 | 2543.47 | A2 | 4295.043 | A2 | 1419.104 | A2 | 285.866 | A2 | 48.527 | A2 | 5.779 | A2 | 63551.965 | A2
E8.41 | Power costs | £000 | I/C | 331.612 | A2 | 376.721 | A2 | 11595.11 | A2 | 2153.339 | A2 | 2066.138 | A2 | 796.967 | A2 | 673.554 | A2 | 257.696 | A2 | 66.517 | A2 | 1.232 | A2 | 0.929 | A2 | 18319.815 | A2
E8.42 | Service charges SEPA | £000 | I/C | 935.704 | A2 | 145.64 | A2 | 2576.689 | A2 | 1420.644 | A2 | 434.734 | A2 | 126.216 | A2 | 418.769 | A2 | 81.007 | A2 | 36.921 | A2 | 25.078 | A2 | 1.61 | A2 | 6203.012 | A2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E9
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E9: Large Sewage Treatment Works Information Database
|  |  |  | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 260 |  | 270 |  | 280 |  | 290 |  | 300 |  | 310 |  | 320 |  | 330 |  | 340 |  | 350 |  | 360 |  | 370 |  | 380 |  | 390 |  | 400 |  | 410 |  | 420 |  | 430 |  | 440 |  | 450 |  | 460 |  | 470 |  | 480 |  | 490 |  | 500
Line | Description | Units | Field | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31 |  | 32 |  | 33 |  | 34 |  | 35 |  | 36 |  | 37 |  | 38 |  | 39 |  | 40 |  | 41 |  | 42 |  | 43 |  | 44 |  | 45 |  | 46 |  | 47 |  | 48 |  | 49 |  | 50
Ref. |  |  | Type
[5 empty] | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
| Works Size |  |  | STW000011 |  | STW001979 |  | STW000033 |  | STW000125 |  | STW001975 |  | STW000218 |  | STW000222 |  | STW001984 |  | STW000265 |  | STW000281 |  | STW001989 |  | STW000355 |  | STW001491 |  | STW001977 |  | STW001982 |  | STW000455 |  | STW001712 |  | STW000576 |  | STW000642 |  | STW002268 |  | STW000719
E9.0 | Name | Name | I | Allers |  | Alloa |  | Ardoch |  | Carbarns |  | Dalderse |  | Daldowie |  | Dalmarnock |  | Dunfermline |  | Dunnswood |  | Erskine |  | Galashiels |  | Hamilton |  | Inverurie |  | Kinneil Kerse |  | Kirkcaldy |  | Laighpark (Paisley) |  | Perth |  | Philipshill |  | Shieldhall |  | Stirling |  | Troqueer
E9.0a | Name of operational area | Name | I | South |  | West |  | West |  | South |  | West |  | South |  | West |  | East |  | West |  | West |  | South |  | South |  | East |  | South |  | East |  | West |  | East |  | South |  | West |  | West |  | South
E9.1 | Annual average resident connected population | 000 | I | 29.6 | B2 | 35.197 | B2 | 44.841 | B2 | 43.509 | B2 | 72.647 | B2 | 213.34 | B2 | 134.024 | B2 | 70.144 | B2 | 27.042 | B2 | 70.306 | B2 | 15.115 | B2 | 51.996 | B2 | 21.691 | B2 | 40.842 | B2 | 51.495 | B2 | 81.036 | B2 | 52.188 | B2 | 45.55 | B2 | 374.773 | B2 | 47.763 | B2 | 24.275 | B2
E9.2 | Annual average non-resident connected population | 000 | I | 3.615 | B3 | 3.116 | B3 | 6.843 | B3 | 3.359 | B3 | 9.435 | B3 | 24.578 | B3 | 18.069 | B3 | 8.043 | B3 | 2.883 | B3 | 8.4 | B3 | 2.153 | B3 | 7.87 | B3 | 2.045 | B3 | 6.143 | B3 | 5.649 | B3 | 11.66 | B3 | 10.777 | B3 | 6.378 | B3 | 47.525 | B3 | 11.333 | B3 | 4.373 | B3
E9.3 | Trade effluent load received by works | kg/COD/day | I | 387.29 | B4 | 862.57 | B4 | 474.37 | B4 | 369.23 | B4 | 663.74 | B4 | 5897.45 | B4 | 1538.79 | B4 | 442.44 | B4 | 16.94 | B4 | 1710.18 | B4 | 129.04 | B4 | 572.37 | B4 | 184.69 | B4 | 200.95 | B4 | 236.63 | B4 | 478.05 | B4 | 1521.95 | B4 | 1645.43 | B4 | 7661.72 | B4 | 1915.71 | B4 | 232.65 | B4
E9.4 | Tanker load received by works | kg/COD/day | I | 0 | B3 | 0 | B3 | 178.329 | B3 | 90.78 | B3 | 885.748 | B3 | 15.962 | B3 | 0 | B3 | 0 | B3 | 0 | B3 | 0 | B3 | 1760.001 | B3 | 0 | B3 | 0 | B3 | 0 | B3 | 0 | B3 | 0 | B3 | 3875.179 | B3 | 0 | B3 | 11974.507 | B3 | 0 | B3 | 1315.08 | B3
E9.5 | Population equivalent of total load received | 000 | I | 35.843 | B3 | 44.586 | B3 | 58.459 | B3 | 49.925 | B3 | 95.584 | B3 | 288.767 | B3 | 161.029 | B3 | 83.123 | B3 | 30.118 | B3 | 83.58 | B3 | 33.861 | B3 | 65.824 | B3 | 25.245 | B3 | 48.738 | B3 | 59.386 | B3 | 96.085 | B3 | 107.252 | B3 | 68.128 | B3 | 594.006 | B3 | 69.202 | B3 | 42.064 | B3
Compliance
E9.6 | Suspended solids consent | mg/l | I | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N | 100 | N
E9.7 | BOD consent | mg/l | I | 20 | A1 | 75 | N | 75 | N | 15 | A1 | 20 | A1 | 15 | A1 | 25 | A1 | 75 | N | 6 | A1 | 75 | N | 25 | A1 | 20 | A1 | 25 | A1 | 75 | N | 0 | N | 15 | A1 | 30 | A1 | 10 | A1 | 20 | A1 | 75 | N | 20 | A1
E9.8 | COD consent | mg/l | I | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1
E9.9 | Ammonia consent | mg/l | I | 5 | A1 | 30 | A1 | 0 | N | 2 | A1 | 25 | A1 | 5 | A1 | 11 | A1 | 0 | N | 1 | A1 | 40 | A1 | 15 | A1 | 5 | A1 | 20 | A1 | 15 | A1 | 0 | N | 20 | A1 | 30 | A1 | 2 | A1 | 20 | A1 | 15 | A1 | 0 | N
E9.10 | Phosphate consent | mg/l | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.11 | Compliance with effluent consent standard | % | I | 95 | A1 | 98.21 | A1 | 100 | A1 | 98.96 | A1 | 100 | A1 | 94.95 | A1 | 96.45 | A1 | 100 | A1 | 98.61 | A1 | 100 | A1 | 95.83 | A1 | 89.36 | A1 | 98.33 | A1 | 100 | A1 | 97.96 | A1 | 100 | A1 | 99.39 | A1 | 95.11 | A1 | 96.49 | A1 | 98.46 | A1 | 100 | A1
Treatment Works Category
E9.12 | Primary | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1
E9.13 | Secondary activated sludge | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1
E9.14 | Secondary biological | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.15 | Tertiary A1 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.16 | Tertiary A2 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.17 | Tertiary B1 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.18 | Tertiary B2 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
Sludge
E9.19 | Own sludge | 1/0 | I
E9.20 | Own sludge costs | £'000 | I
E9.21 | Sludge centre | 1/0 | I
E9.22 | Sludge centre costs | £'000 | I
Works Cost
E9.23 | Power costs | £'000 | I | 120.867 | A2 | 202.011 | A2 | 106.788 | A2 | 160.596 | A2 | 121.913 | A2 | 862.499 | A2 | 1057.534 | A2 | 46.806 | A2 | 177.949 | A2 | 401.492 | A2 | 38.651 | A2 | 392.439 | A2 | 61.045 | A2 | 301.648 | A2 | 396.031 | A2 | 483.937 | A2 | 366.062 | A2 | 592.471 | A2 | 1565.8 | A2 | 294.9 | A2 | 149.034 | A2
E9.24 | Service charges SEPA | £'000 | I | 32.768 | A2 | 43.617 | A2 | 60.491 | A2 | 43.213 | A2 | 78.81 | A2 | 158.332 | A2 | 186.033 | A2 | 60.024 | A2 | 29.336 | A2 | 66.636 | A2 | 34.02 | A2 | 47.058 | A2 | 36.459 | A2 | 59.753 | A2 | 50.693 | A2 | 83.492 | A2 | 70.245 | A2 | 40.037 | A2 | 233.128 | A2 | 65.699 | A2 | 46.935 | A2
E9.25 | Total direct costs | £'000 | I | 365.754 | A2 | 457.929 | A2 | 375.162 | A2 | 327.646 | A2 | 466.28 | A2 | 1187.477 | A2 | 2356.363 | A2 | 326.491 | A2 | 411.642 | A2 | 685.164 | A2 | 186.793 | A2 | 791.822 | A2 | 463.134 | A2 | 505.114 | A2 | 722.702 | A2 | 847.931 | A2 | 607.743 | A2 | 1028.596 | A2 | 2489.443 | A2 | 638.882 | A2 | 360.709 | A2
E9.26 | General and support expenditure | £'000 | I | 99.98 | A2 | 99.056 | A2 | 82.71 | A2 | 46.395 | A2 | 105.98 | A2 | 86.11 | A2 | 485.092 | A2 | 45.762 | A2 | 49.591 | A2 | 48.572 | A2 | 27.185 | A2 | 158.41 | A2 | 35.08 | A2 | 32.302 | A2 | 71.739 | A2 | 207.818 | A2 | 83.474 | A2 | 173.956 | A2 | 385.402 | A2 | 131.902 | A2 | 16.703 | A2
E9.27 | Functional Expenditure | £'000 | C | 465.734 | A2 | 556.985 | A2 | 457.872 | A2 | 374.041 | A2 | 572.26 | A2 | 1273.587 | A2 | 2841.455 | A2 | 372.253 | A2 | 461.233 | A2 | 733.736 | A2 | 213.978 | A2 | 950.232 | A2 | 498.214 | A2 | 537.416 | A2 | 794.441 | A2 | 1055.749 | A2 | 691.217 | A2 | 1202.552 | A2 | 2874.845 | A2 | 770.784 | A2 | 377.412 | A2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
E9.28 | Estimated terminal pumping station costs | £'000 | I | 0 | N | 1.044 | A2 | 92.765 | A2 | 0 | N | 0 | N | 0 | N | 317.26 | A2 | 47.37 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 99.008 | A2 | 145.67 | A2 | 159.6 | A2 | 0 | N | 470.248 | A2 | 90.233 | A2 | 20.848 | A2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E10
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E10: Sludge Treatment and Disposal
|  |  |  | 10 |  | 11 |  | 12 |  | 20 |  | 30 |  | 31 |  | 32 |  | 50 |  | 199
Line | Description | Units | Field | Disposal category
Ref. |  |  | Type | Farmland Untreated |  | Farmland Conventional |  | Farmland Advanced |  | Incineration |  | Landfill |  | Composted |  | Land Reclamation |  | Other |  | Total
[5 empty] | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Sludge volumes
E10.1 | Resident population served | 000 | I | 0 | AX | 235.904 | C3 | 1136.906 | C3 | 864.17 | C3 | 16.111 | C3 | 0 | AX | 238.938 | C3 | 0 | AX | 2492.029 | C3
E10.2 | Amount of sewage sludge | ttds | I | 0 | AX | 2.3 | B4 | 8.1 | B4 | 0 | AX | 0.4 | B4 | 0 | AX | 2.8 | B4 | 0 | AX | 13.6 | B4
Sludge Treatment and Disposal costs
E10.3 | Sludge Treatment direct costs | £000 | I | 0 | BX | 374.203 | B2 | 3028.504 | B2 | 0 | BX | 143.506 | B2 | 0 | BX | 6118.56 | B2 | 0 | BX | 9664.773 | B2
E10.4 | Sludge disposal direct costs | £000 | I | 0 | BX | 134.006 | B2 | 925.099 | B2 | 0 | BX | 484.616 | B2 | 0 | BX | 2190.714 | B2 | 0 | BX | 3734.435 | B2
E10.5 | Sludge treatment & disposal: Power costs | £000 | I | 0 | BX | 159.589 | B2 | 472.414 | B2 | 0 | BX | 47.534 | B2 | 0 | BX | 1595.181 | B2 | 0 | BX | 2274.718 | B2
E10.6 | Sludge treatment & disposal: Service charges SEPA | £000 | I | 0 | BX | 4.459 | B2 | 44.154 | B2 | 0 | BX | 7.049 | B2 | 0 | BX | 47.942 | B2 | 0 | BX | 103.604 | B2
E10.7 | Sludge treatment & disposal: Total direct costs | £000 | C | 0 | B2 | 508.209 | B2 | 3953.603 | B2 | 0 | B2 | 628.122 | B2 | 0 | B2 | 8309.274 | B2 | 0 | B2 | 13399.208 | B2
E10.8 | Sludge treatment and disposal: General and support expenditure | £000 | I | 0 | BX | 143.773 | B2 | 1006.815 | B2 | 0 | BX | 130.332 | B2 | 0 | BX | 1888.276 | B2 | 0 | BX | 3169.196 | B2
E10.9 | Sludge Treatment and disposal: Functional Expenditure | £000 | C | 0 | B2 | 651.982 | B2 | 4960.418 | B2 | 0 | B2 | 758.454 | B2 | 0 | B2 | 10197.55 | B2 | 0 | B2 | 16568.404 | B2
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by: …………………………………………….. |  | Date: ….................

## E11
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2022
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E11: Employee numbers - Full-time equivalents
10
Line | Description | Units | Field | Report year
Ref. |  |  | Type | 2021-22
CG
Delivery of water and wastewater services
E11.1 | Operations | nr | I | 1703.9 | A1
E11.2 | Capital planning and delivery | nr | I | 392.29 | A1
E11.3 | Laboratory services | nr | I | 316.96 | A1
E11.4 | Customer service and billing | nr | I | 594.74 | A1
E11.5 | Directors, management and support including regulation and strategy | nr | I | 946.26 | A1
E11.6 | Total employee numbers (core services) | nr | C | 2413.15 | A1
Commercial or non-core services
E11.7 | Total employee numbers (commercial or non-core services) | nr | C | 119.95
Prepared by: ……………………………………………...…..
Checked by: ……………………………………………...…..
Authorised by: …………………………………………….. |  | Date: …..............