## H1
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H1: Summary
[7 empty] | 2 | [8 empty] | 3
|  |  | 1 |  |  |  | Value of Element (£m Gross MEAV) | [8 empty] | Value of Element (£m Net MEAV)
Line Ref | Description & [Asset Code] | Field Type | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG | Very short AP £m | Short AP £m | Med AP £m | Med/ long AP £m | Long AP £m | Non Depr £m | Dcm £m | Land £m | CG | Very short AP £m | Short AP £m | Med AP £m | Med/ long AP £m | Long AP £m | Non Depr £m | Dcm £m | Land £m | CG
Water Non-Infrastructure
H1.1 | Water treatment works [101] | I/C | 3768.5362 | 987.487 | 0 | C4 | 178.8156 | 301.8952 | 1644.268 | 0 | 1591.6538 | 0 | 0 | 51.9035 | C4 | 0 | 3.4234 | 200.3708 | 0 | 731.7892 | 0 | 0 | 51.9035 | C4
H1.2 | Water storage [102] | I/C | 2519.0693 | 855.5782 | 0 | C4 | 16.4399 | 161.753 | 125.117 | 0 | 2181.3023 | 0 | 0 | 34.457 | C4 | 2.0901 | 23.688 | 4.5814 | 0 | 790.7617 | 0 | 0 | 34.457 | C4
H1.3 | Water pumping stations [103] | I/C | 440.2566 | 134.4518 | 0 | C4 | 19.91 | 56.9971 | 199.4376 | 0 | 157.7534 | 0 | 0 | 6.1585 | C4 | 2.24 | 3.9871 | 44.8064 | 0 | 77.2599 | 0 | 0 | 6.1585 | C4
Water Infrastructure
H1.4 | Water resources [104] | I/C | 4190.703 |  | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 4190.703 | 0 | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 4190.703 | 0 | 0 | C4
H1.5 | Water mains [105] | I/C | 18157.169 |  | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 18157.169 | 0 | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 18157.169 | 0 | 0 | B4
Wastewater Infrastructure
H1.6 | Sewers [106] | I/C | 54264.594 |  | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 54264.594 | 0 | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 54264.594 | 0 | 0 | C4
H1.7 | Sewer structures [107] | I/C | 837.699 |  | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 837.699 | 0 | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 837.699 | 0 | 0 | C4
H1.8 | Sea outfalls [108] | I/C | 553.125 |  | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 553.125 | 0 | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 553.125 | 0 | 0 | C4
H1.9 | Sustainable Urban Drainage Systems [109] | I/C | 0 |  | 0 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | M
Wastewater Non-Infrastructure
H1.10 | Sewage pumping stations [110] | I/C | 1436.5028 | 454.9482 | 0 | C4 | 63.5416 | 243.1396 | 401.5352 | 0 | 708.4038 | 0 | 0 | 19.8826 | C4 | 0.53308 | 19.8524 | 76.198 | 0 | 338.4821 | 0 | 0 | 19.8826 | C4
H1.11 | Sewage treatment works [111] | I/C | 5822.8325 | 1368.0169 | 0 | C4 | 107.764 | 414.619 | 1927.9146 | 0 | 3293.6418 | 0 | 0 | 78.8932 | C4 | 0.22704 | 4.9711 | 108.2478 | 0 | 1175.6778 | 0 | 0 | 78.8932 | C4
H1.12 | Sludge treatment facilities by disposal type [112] | I/C | 354.4105 | 60.1759 | 0 | C4 | 19.766 | 22.4825 | 153.2813 | 0 | 154.0132 | 0 | 0 | 4.8675 | C4 | 0 | 0 | 4.2471 | 0 | 51.0614 | 0 | 0 | 4.8675 | C4
Support Services
H1.13 | Support services [113] | I/C | 185.379 | 97.045 | 0 | C4 | 20.193 | 87.574 | 0 | 0 | 63.763 | 0 | 0 | 13.849 | C4 | 4.722 | 30.338 | 0 | 0 | 48.136 | 0 | 0 | 13.849 | C4
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date:

## H2
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H2: Water Non-Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Water Treatment Works
H2.1 | SW0 treatment works [201] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | A2 | 0 | 0 | 0 | C4
H2.2 | SW1 treatment works [202] | I/C | nr | 1 | 0 | 0 | 0 | 0 | 0 | 1 | A2 | 3.6095 | 1.1948 | 0 | C4
H2.3 | SW2 treatment works [203] | I/C | nr | 0 | 3 | 5 | 4 | 5 | 5 | 22 | A2 | 733.2547 | 189.7131 | 0 | C4
H2.4 | SW3 treatment works [204] | I/C | nr | 78 | 15 | 11 | 22 | 23 | 10 | 159 | A2 | 2807.4444 | 721.1609 | 0 | C4
H2.5 | GW0 treatment works [205] | I/C | nr | 7 | 2 | 2 | 8 | 0 | 0 | 19 | A2 | 47.8432 | 13.9279 | 0 | C4
H2.6 | GW1 treatment works [206] | I/C | nr | 4 | 0 | 0 | 0 | 0 | 0 | 4 | A2 | 7.9163 | 1.2742 | 0 | C4
H2.7 | GW2 treatment works [207] | I/C | nr | 1 | 2 | 0 | 0 | 0 | 0 | 3 | A2 | 13.275 | 3.4276 | 0 | C4
H2.8 | GW3 treatment works [208] | I/C | nr | 10 | 1 | 3 | 3 | 2 | 0 | 19 | A2 | 155.1932 | 56.7885 | 0 | C4
Water Storage
H2.9 | Service reservoirs [209] | I/C | nr | 692 | 143 | 286 | 64 | 49 | 34 | 1268 | A2 | 2485.7674 | 845.7359 | 0 | C4
H2.10 | Water towers [210] | I/C | nr | 4 | 2 | 1 | 4 | 5 | 0 | 16 | A2 | 33.3019 | 9.8423 | 0 | C4
Water Pumping Stations
H2.11 | Intake (installed pump capacity incl. standby) [211] | I/C | nr | 17 | 18 | 26 | 26 | 3 | 5 | 95 | A3 | 113.2888 | 34.7376 | 0 | C4
H2.12 | Source (installed pump capacity incl. standby) [212] | I/C | nr | 32 | 17 | 8 | 10 | 3 | 0 | 70 | A3 | 30.7751 | 8.0754 | 0 | C4
H2.13 | Booster (installed pump capacity incl. standby) [213] | I/C | nr | 102 | 167 | 192 | 108 | 37 | 16 | 622 | A3 | 296.1927 | 91.6389 | 0 | C4
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date:

## H3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H3: Water Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Water Resources
H3.1 | Dams and impounding reservoirs [301] | I/C | nr | 148 | 18 | 17 | 6 | 9 | 0 | 198 | C4 | 1863.042 | 0 | 0 | C4
H3.2 | Raw water intake (lochs and burns) [302] | I/C | nr | 248 | 3 | 6 | 5 | 1 | 0 | 263 | C5 | 30.761 | 0 | 0 | C5
H3.3 | Raw water aqueducts [303] | I/C | km | 324.76 | 373.33 | 490.13 | 189.07 | 285.68 | 0 | 1662.97 | B2 | 2296.9 | 0 | 0 | B2
Water Mains
H3.4 | Mains potable (nominal bore) [304] | I/C | km | 5325.96 | 30851.05 | 8903.25 | 3109.21 | 920.91 | 0 | 49110.38 | A2 | 16742.04 | 0 | 0 | B4
H3.5 | Mains other (nominal bore) [305] | I/C | km | 15.8 | 101.36 | 24.63 | 2.49 | 0.75 | 0 | 145.03 | A3 | 63.3 | 0 | 0 | B4
H3.6 | Communication pipes (lead) [306] | I/C | nr | 51970 | 0 | 0 | 0 | 0 | 0 | 51970 | B4 | 36.042 | 0 | 0 | C4
H3.7 | Communication pipes (other) [307] | I/C | nr | 13438 | 1772155 | 0 | 0 | 0 | 0 | 1785593 | B4 | 1238.342 | 0 | 0 | C4
H3.8 | Water meters [308] | I/C | nr | 138214 | 321 | 0 | 0 | 0 | 0 | 138535 | A3 | 77.445 | 0 | 0 | B4
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date:

## H4
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H4: Wastewater Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Sewers
H4.1 | Sewers [401] | I/C | km |  | 33253.829 | 14701.185 | 4237.264 | 1117.835 | 910.093 | 54220.206 | B2 | 53588.084 | 0 | 0 | C4
H4.2 | Sewage and sludge pumping mains [403] | I/C | km |  | 696.585 | 439.672 | 193.638 | 77.095 | 11.313 | 1418.303 | A4 | 676.51 | 0 | 0 | B4
Sewer Structures
H4.3 | Combined sewer and emergency overflows [404] | I/C | nr |  | 1782 | 1652 | 240 | 0 | 0 | 3674 | A4 | 513.908 | 0 | 0 | C4
H4.4 | Other sewer structures [405] | I/C | nr |  | 175 | 87 | 5 | 0 | 0 | 267 | B3 | 323.791 | 0 | 0 | D5
Sea Outfalls
H4.5 | Short sea outfalls [406] | I/C | nr |  | 1016 | 131 | 40 | 0 | 0 | 1187 | B2 | 356.651 | 0 | 0 | C4
H4.6 | Long sea outfalls [407] | I/C | nr |  | 30 | 16 | 9 | 0 | 0 | 55 | B2 | 196.474 | 0 | 0 | C4
Sustainable Drainage Systems (SUDS)
H4.7 | SUDS ponds [408] | I/C | nr | 1 | 0 | 28 | 8 | 0 | 2 | 39 | A4 | 0 | 0 | 0 | M
H4.8 | SUDS basins [409] | I/C | nr | 3 | 26 | 128 | 4 | 0 | 0 | 161 | A4 | 0 | 0 | 0 | M
H4.9 | Filter trenches [410] | I/C | nr | 16 | 5 | 78 | 3 | 0 | 0 | 102 | A4 | 0 | 0 | 0 | M
H4.10 | Swales [411] | I/C | nr | 0 | 0 | 18 | 1 | 0 | 0 | 19 | A4 | 0 | 0 | 0 | M
H4.11 | Other (e.g. wetland) [412] | I/C | nr | 0 | 1 | 2 | 0 | 0 | 0 | 3 | A4 | 0 | 0 | 0 | M
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date:

## H5
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H5: Wastewater Non-Infrastructure
|  |  | Summary of Asset Stock | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Sewage Pumping Stations
H5.1 | Sewage pumping stations (in-line) [501] | I/C | nr | 0 | 531 | 849 | 367 | 102 | 29 | 1878 | A3 | 1124.852 | 356.8578 | 0 | C4
H5.2 | Sewage pumping stations (terminal) [502] | I/C | nr | 0 | 102 | 168 | 97 | 32 | 13 | 412 | A3 | 311.6508 | 98.0904 | 0 | C4
Sewage Treatment Works
H5.3 | Cess & septic tanks [503] | I/C | nr | 870 | 172 | 137 | 0 | 0 | 0 | 1179 | A2 | 425.3293 | 173.7436 | 0 | C4
H5.4 | Preliminary treatment only [504] | I/C | nr | 2 | 0 | 0 | 3 | 9 | 2 | 16 | A2 | 68.324 | 18.1252 | 0 | C4
H5.5 | Primary treatment only [505] | I/C | nr | 6 | 6 | 5 | 13 | 7 | 1 | 38 | A2 | 93.0966 | 32.2719 | 0 | C4
H5.6 | Secondary treatment only [506] | I/C | nr | 88 | 70 | 63 | 113 | 91 | 54 | 479 | A2 | 3905.8264 | 866.0492 | 0 | C4
H5.7 | Tertiary treatment only [507] | I/C | nr | 13 | 17 | 17 | 38 | 29 | 16 | 130 | A2 | 1330.2563 | 277.8271 | 0 | C4
Sludge Treatment Facilities by Disposal Type
H5.8 | Sludge treatment - liquid disposal [508] | I/C | nr | 0 | 0 | 1 | 0 | 0 | 0 | 1 | A2 | 4.144 | 0.26319 | 0 | C4
H5.9 | Sludge treatment - cake disposal [509] | I/C | nr | 0 | 0 | 6 | 12 | 1 | 1 | 20 | A2 | 350.2665 | 59.9127 | 0 | C4
H5.10 | Sludge treatment - compost disposal [510] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
H5.11 | Sludge treatment - dried pellet disposal [511] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
H5.12 | Sludge treatment - ash disposal [512] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
H5.13 | Sludge treatment - other disposal [513] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date:

## H6
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2023
SECTION H : ASSET INVENTORY
Table H6: Support Services
|  |  |  | Summary of Asset Stock | [7 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Support Services
H6.1 | Offices & laboratories [601] | I/C | m2 & nr |  | 22036 | 7 | 5190 | 2 | 0 | 27235 | B2 | 50.743 | 41.574 | 0 | C4
H6.2 | Depots & workshops [602] | I/C | m2 & nr |  | 33830 | 35 | 0 | 0 | 0 | 33865 | B4 | 11.252 | 5.89 | 0 | C4
H6.3 | Control centres [603] | I/C | m2 & nr |  | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
H6.4 | Vehicles & plant [604] | I/C | £m |  | 15.622 | 63.885 | 0 | 0 | 0 | 79.507 | B3 | 79.507 | 30.323 | 0 | B3
H6.5 | Telemetry systems [605] | I/C | % & nr |  | 47.43 | 5161 | 0 | 0 | 0 | 5208.43 | A2 | 23.689 | 3.186 | 0 | B3
H6.6 | Information systems [606] | I/C | nr |  | 4151 | 34 | 249 | 0 | 0 | 4434 | A2 | 4.571 | 1.551 | 0 | B2
H6.7 | Other non-operational assets [607] | I/C | nr |  | 28 | 0 | 0 | 0 | 0 | 28 | C4 | 15.617 | 14.521 | 0 | C4
Prepared by: ……………………………………………..
Checked by: ……………………………………………..
Authorised by:..................................................................... |  | Date: