## H1
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H1: Summary
[8 empty] | 2 | [8 empty] | 3
|  |  |  | 1 |  |  |  | Value of Element (£m Gross MEAV) | [8 empty] | Value of Element (£m Net MEAV)
Line Ref | Description & [Asset Code] | Field Type |  | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG | Very short AP £m | Short AP £m | Med AP £m | Med/ long AP £m | Long AP£m | Non Depr £M | Dcm £m | Land £m | CG | Very short AP £m | Short AP £m | Med AP £m | Med/ long AP£m | Long AP £m | Non Depr £m | Dcm £m | Land £m | CG
Water Non-Infrastructure
H1.1 | Water treatment works [101] | I/C |  | 4258.4622 | 1137.4648 | 0 | C4 | 236.0457 | 205.1484 | 1630.3273 | 0 | 2116.8149 | 0 | 0 | 70.1256 | C4 | 0 | 1.9448 | 177.0857 | 0 | 888.3087 | 0 | 0 | 70.1256 | C4
H1.2 | Water storage [102] | I/C |  | 2865.7295 | 886.297 | 0 | B4 | 177.3761 | 131.7479 | 115.1318 | 0 | 2394.9873 | 0 | 0 | 46.4863 | B4 | 3.1399 | 18.1887 | 3.8406 | 0 | 814.6415 | 0 | 0 | 46.4863 | B4
H1.3 | Water pumping stations [103] | I/C |  | 425.3998 | 140.3394 | 0 | B4 | 20.4019 | 36.3255 | 157.73 | 0 | 203.8121 | 0 | 0 | 7.1303 | B4 | 2.004 | 2.1149 | 31.7569 | 0 | 97.3334 | 0 | 0 | 7.1303 | B4
Water Infrastructure
H1.4 | Water resources [104] | I/C |  | 4555.983 |  | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 4555.983 | 0 | 0 | C4 | 0 | 0 | 0 | 0 | 0 | 4555.983 | 0 | 0 | C4
H1.5 | Water mains [105] | I/C |  | 19325.362 |  | 0 | B3 | 0 | 0 | 0 | 0 | 0 | 19320.672 | 0 | 0 | B3 | 0 | 0 | 0 | 0 | 0 | 19320.672 | 0 | 0 | B3
Wastewater Infrastructure
H1.6 | Sewers [106] | I/C |  | 80106.542 |  | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 80106.542 | 0 | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 80106.542 | 0 | 0 | B4
H1.7 | Sewer structures [107] | I/C |  | 1773.195 |  | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 1773.195 | 0 | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 1773.195 | 0 | 0 | B4
H1.8 | Sea outfalls [108] | I/C |  | 651.515 |  | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 651.515 | 0 | 0 | B4 | 0 | 0 | 0 | 0 | 0 | 651.515 | 0 | 0 | B4
H1.9 | Sustainable Urban Drainage Systems [109] | I/C |  | 0 |  | 0 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | M
Wastewater Non-Infrastructure
H1.10 | Sewage pumping stations [110] | I/C |  | 1786.7954 | 603.58 | 0 | B4 | 61.1359 | 173.5172 | 424.7323 | 0 | 1097.9969 | 0 | 0 | 29.4128 | B4 | 0.68938 | 13.3436 | 75.3158 | 0 | 484.8184 | 0 | 0 | 29.4128 | B4
H1.11 | Sewage treatment works [111] | I/C |  | 6220.9421 | 1489.2537 | 0 | B4 | 106.6262 | 261.9596 | 1877.9842 | 0 | 3872.7178 | 0 | 0 | 101.6541 | B4 | 0.21412 | 2.3017 | 82.2567 | 0 | 1302.8272 | 0 | 0 | 101.6541 | B4
H1.12 | Sludge treatment facilities by disposal type [112] | I/C |  | 438.6194 | 76.3287 | 0 | B4 | 19.9416 | 13.43 | 164.9437 | 0 | 233.0409 | 0 | 0 | 7.2632 | B4 | 0 | 0 | 3.8535 | 0 | 65.212 | 0 | 0 | 7.2632 | B4
Support Services
H1.13 | Support services [113] | I/C |  | 193.1561 | 103.9351 | 0 | C4 | 20.965 | 84.579 | 0 | 0 | 74.522 | 0 | 0 | 13.09 | C4 | 3.614 | 33.783 | 0 | 0 | 53.448 | 0 | 0 | 13.09 | C4
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by: |  | Date: | 17/06/2025

## H2
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H2: Water Non-Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Water Treatment Works
H2.1 | SW0 treatment works [201] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | CX
H2.2 | SW1 treatment works [202] | I/C | nr | 1 | 0 | 0 | 0 | 0 | 0 | 1 | A2 | 5.5777 | 1.8341 | 0 | C4
H2.3 | SW2 treatment works [203] | I/C | nr | 0 | 3 | 5 | 4 | 5 | 5 | 22 | A2 | 927.5059 | 251.0099 | 0 | B4
H2.4 | SW3 treatment works [204] | I/C | nr | 76 | 14 | 12 | 22 | 23 | 10 | 157 | A2 | 3058.2035 | 793.1978 | 0 | C4
H2.5 | GW0 treatment works [205] | I/C | nr | 7 | 2 | 2 | 8 | 0 | 0 | 19 | A2 | 55.3091 | 17.0944 | 0 | B4
H2.6 | GW1 treatment works [206] | I/C | nr | 4 | 0 | 0 | 0 | 0 | 0 | 4 | A2 | 8.3947 | 1.1406 | 0 | B4
H2.7 | GW2 treatment works [207] | I/C | nr | 2 | 2 | 0 | 0 | 0 | 0 | 4 | A2 | 26.2252 | 6.306 | 0 | C4
H2.8 | GW3 treatment works [208] | I/C | nr | 9 | 1 | 4 | 3 | 2 | 0 | 19 | A2 | 177.2463 | 66.8821 | 0 | C4
Water Storage
H2.9 | Service reservoirs [209] | I/C | nr | 685 | 145 | 290 | 64 | 51 | 35 | 1270 | A2 | 2829.3709 | 875.8692 | 0 | B4
H2.10 | Water towers [210] | I/C | nr | 4 | 1 | 1 | 4 | 5 | 0 | 15 | A2 | 36.3586 | 10.4278 | 0 | B4
Water Pumping Stations
H2.11 | Intake (installed pump capacity incl. standby) [211] | I/C | nr | 15 | 16 | 28 | 24 | 4 | 4 | 91 | A3 | 112.5492 | 37.2061 | 0 | B4
H2.12 | Source (installed pump capacity incl. standby) [212] | I/C | nr | 34 | 17 | 8 | 10 | 3 | 0 | 72 | A3 | 33.6616 | 10.659 | 0 | B4
H2.13 | Booster (installed pump capacity incl. standby) [213] | I/C | nr | 102 | 167 | 194 | 105 | 36 | 16 | 620 | A3 | 279.189 | 92.4743 | 0 | B4
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by |  | Date: | 17/06/2025

## H3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H3: Water Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Water Resources
H3.1 | Dams and impounding reservoirs [301] | I/C | nr | 151 | 16 | 17 | 6 | 9 | 0 | 199 | C4 | 1841.898 | 0 | 0 | C4
H3.2 | Raw water intake (lochs and burns) [302] | I/C | nr | 250 | 3 | 5 | 5 | 1 | 0 | 264 | C5 | 29.207 | 0 | 0 | C5
H3.3 | Raw water aqueducts [303] | I/C | km | 316.374 | 363.226 | 506.927 | 189.018 | 286.789 | 0 | 1662.334 | B2 | 2684.878 | 0 | 0 | B2
Water Mains
H3.4 | Mains potable (nominal bore) [304] | I/C | km | 5377.5 | 30971.166 | 8978.593 | 3128.021 | 929.661 | 0 | 49384.941 | A2 | 16170.413 | 0 | 0 | B3
H3.5 | Mains other (nominal bore) [305] | I/C | km | 11.806 | 107.483 | 25.221 | 2.494 | 0.525 | 0 | 147.529 | A3 | 77.377 | 0 | 0 | B3
H3.6 | Communication pipes (lead) [306] | I/C | nr | 47154 | 0 | 0 | 0 | 0 | 0 | 47154 | B4 | 73.911 | 0 | 0 | B4
H3.7 | Communication pipes (other) [307] | I/C | nr | 13438 | 1804924 | 0 | 0 | 0 | 0 | 1818362 | B4 | 2850.155 | 0 | 0 | B4
H3.8 | Water meters [308] | I/C | nr | 137643 | 327 | 0 | 0 | 0 | 0 | 137970 | A3 | 153.506 | 0 | 0 | B3
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by: |  | Date: | 17/06/2025

## H4
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H4: Wastewater Infrastructure
|  |  | SUMMARY OF ASSET STOCK | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Sewers
H4.1 | Sewers [401] | I/C | km |  | 34019.005 | 14831.381 | 4302.333 | 1128.305 | 919.11 | 55200.134 | B2 | 79370.037 | 0 | 0 | B4
H4.2 | Sewage and sludge pumping mains [403] | I/C | km |  | 709.418 | 472.192 | 196.539 | 79.529 | 11.305 | 1468.983 | A4 | 736.505 | 0 | 0 | B3
Sewer Structures
H4.3 | Combined sewer and emergency overflows [404] | I/C | nr |  | 1758 | 2228 | 240 | 0 | 0 | 4226 | A3 | 1194.191 | 0 | 0 | B4
H4.4 | Other sewer structures [405] | I/C | nr |  | 29 | 541 | 6 | 0 | 0 | 576 | B3 | 579.004 | 0 | 0 | B4
Sea Outfalls
H4.5 | Short sea outfalls [406] | I/C | nr |  | 1017 | 129 | 35 | 0 | 0 | 1181 | B2 | 424.005 | 0 | 0 | B4
H4.6 | Long sea outfalls [407] | I/C | nr |  | 31 | 16 | 8 | 0 | 0 | 55 | B2 | 227.51 | 0 | 0 | B4
Sustainable Drainage Systems (SUDS)
H4.7 | SUDS ponds [408] | I/C | nr | 1 | 1 | 65 | 11 | 1 | 3 | 82 | A3 | 0 | 0 | 0 | M
H4.8 | SUDS basins [409] | I/C | nr | 7 | 54 | 261 | 16 | 0 | 0 | 338 | A3 | 0 | 0 | 0 | M
H4.9 | Filter trenches [410] | I/C | nr | 23 | 14 | 111 | 3 | 0 | 0 | 151 | A3 | 0 | 0 | 0 | M
H4.10 | Swales [411] | I/C | nr | 2 | 0 | 21 | 1 | 0 | 0 | 24 | A3 | 0 | 0 | 0 | M
H4.11 | Other (e.g. wetland) [412] | I/C | nr | 0 | 1 | 2 | 0 | 0 | 0 | 3 | A3 | 0 | 0 | 0 | M
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by: |  | Date: | 17/06/2025

## H5
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H5: Wastewater Non-Infrastructure
|  |  | Summary of Asset Stock | [8 empty] | 1
Line Ref | Description & [Asset Code] | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | Total | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Sewage Pumping Stations
H5.1 | Sewage pumping stations (in-line) [501] | I/C | nr |  | 573 | 860 | 371 | 102 | 29 | 1935 | A3 | 1407.1165 | 471.2577 | 0 | B4
H5.2 | Sewage pumping stations (terminal) [502] | I/C | nr |  | 104 | 166 | 98 | 32 | 13 | 413 | A3 | 379.6789 | 132.3222 | 0 | B4
Sewage Treatment Works
H5.3 | Cess & septic tanks [503] | I/C | nr | 869 | 172 | 137 | 0 | 0 | 0 | 1178 | A2 | 199.226 | 92.2835 | 0 | C4
H5.4 | Preliminary treatment only [504] | I/C | nr | 3 | 0 | 0 | 3 | 9 | 2 | 17 | A2 | 75.0197 | 22.3919 | 0 | B4
H5.5 | Primary treatment only [505] | I/C | nr | 6 | 6 | 5 | 13 | 7 | 1 | 38 | A2 | 95.1889 | 33.0126 | 0 | B4
H5.6 | Secondary treatment only [506] | I/C | nr | 89 | 72 | 62 | 112 | 91 | 55 | 481 | A2 | 4443.1981 | 1025.9885 | 0 | B4
H5.7 | Tertiary treatment only [507] | I/C | nr | 13 | 16 | 16 | 38 | 28 | 15 | 126 | A2 | 1408.3094 | 315.5773 | 0 | B4
Sludge Treatment Facilities by Disposal Type
H5.8 | Sludge treatment - liquid disposal [508] | I/C | nr | 0 | 0 | 1 | 1 | 0 | 0 | 2 | A2 | 5.6549 | 0.40466 | 0 | B4
H5.9 | Sludge treatment - cake disposal [509] | I/C | nr | 0 | 0 | 6 | 12 | 1 | 1 | 20 | A2 | 432.9645 | 75.9241 | 0 | B4
H5.10 | Sludge treatment - compost disposal [510] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | BX
H5.11 | Sludge treatment - dried pellet disposal [511] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | BX
H5.12 | Sludge treatment - ash disposal [512] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | BX
H5.13 | Sludge treatment - other disposal [513] | I/C | nr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | BX
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by: |  | Date: | 17/06/2025

## H6
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2024-25
SECTION H : ASSET INVENTORY
Table H6: Support Services
|  |  |  | Summary of Asset Stock | [6 empty] | 1
Line Ref |  | Field Type | Units | Band 0 | Band 1 | Band 2 | Band 3 | Band 4 | Band 5 | CG | Gross MEAV £m | Net MEAV £m | Rdn MEAV £m | CG
Support Services
H6.1 | Offices & laboratories [601] | I | m2 & nr |  | 27656 | 11 | 5190 | 2 | 0 | B2 | 58.381 | 46.017 | 0 | C4
H6.2 | Depots & workshops [602] | I | m2 & nr |  | 19418 | 64 | 0 | 0 | 0 | B3 | 13.564 | 6.452 | 0 | C4
H6.3 | Control centres [603] | I | m2 & nr |  | 0 | 0 | 0 | 0 | 0 | AX | 0 | 0 | 0 | AX
H6.4 | Vehicles & plant [604] | I | £m |  | 16.1742 | 60.7841 | 0 | 0 | 0 | B3 | 76.9583 | 32.1256 | 0 | B3
H6.5 | Telemetry systems [605] | I | % & nr |  | 44.0479 | 5184 | 0 | 0 | 0 | A2 | 23.795 | 4.281 | 0 | B3
H6.6 | Information systems [606] | I | nr |  | 4514 | 0 | 249 | 0 | 0 | A2 | 4.7908 | 0.99051 | 0 | B2
H6.7 | Other non-operational assets [607] | I | nr |  | 35 | 0 | 0 | 0 | 0 | B3 | 15.667 | 14.069 | 0 | C4
Prepared by: …………………………………………….. |  | Date:
Checked by: ……………………………………………..
Authorised by: |  | Date: | 17/06/2025